PROFICIENCY TEST                          GASOLINE  iis10B01                     	2010

# Report form A for analysis results of sample #1009

Report to: 	ing. R.J. Starink 							before March 5, 2010

fax.  + 31 181 69 4543 or email iisnl@sgs.com (preferred)

| Determinations | Unit | Reference method (**) | Actual method used(**) | Unrounded result #1009 | Result #1009 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Aromatics by GC | %V/V | EN14517 |  |  |  |
| Aromatics by GC | %M/M | EN14517 |  |  |  |
| API gravity | --- | D1298 |  |  |  |
| Benzene | %V/V | D3606 |  |  |  |
| Copper strip 3hrs/50°C | rating | D130 |  |  |  |
| Density @15°C | kg/m3 | D4052 |  |  |  |
| Distillation @ 760 mmHg | Manual or Automatic M / A 1) |
| - IBP | °C | D86 |  |  |  |
| - 10% evaporated | °C | D86 |  |  |  |
| - 50% evaporated | °C | D86 |  |  |  |
| - 90% evaporated | °C | D86 |  |  |  |
| - FBP | °C | D86 |  |  |  |
| - % evap. at 70ºC (E70) | %V/V | D86 |  |  |  |
| - % evap. at 100ºC (E100) | %V/V | D86 |  |  |  |
| - % evap. at 150ºC (E150) | %V/V | D86 |  |  |  |
| - Distillation residue | %V/V | D86 |  |  |  |
| Doctor test |  | D4952 |  |  |  |
| Existent gum (washed) | mg/100ml | D381 |  |  |  |
| FIA test for hydrocarbons |  |  |  |  |  |
| - olefins 2) | %V/V | D1319 |  |  |  |
| - aromatics 2) | %V/V | D1319 |  |  |  |
| Lead as Pb | mg/l | D3237 |  |  |  |
| Manganese as Mn | mg/l | D3831 |  |  |  |
| Mercaptans as S | %M/M | D3227 |  |  |  |

1) Please circle the correct option

2) Without oxygenates correcction

(**) See instructions

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of responsible manager:	Date of report:

PROFICIENCY TEST                          GASOLINE  iis10B01                     	2010

# Report form B for analysis results of sample #1009

Report to: 	ing. R.J. Starink 							Before March 5, 2010			fax.  + 31 181 69 4543 or email iisnl@sgs.com (preferred)

| Determination | Unit | Reference method (**) | Actual method used(**) | Unrounded result #1009 | Result #1009 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Olefins by GC | %V/V | EN14517 |  |  |  |
| Olefins by GC | %M/M | EN14517 |  |  |  |
| Oxygenates |  |
| - DIPE | %V/V | D4815 |  |  |  |
| - Ethanol | %V/V | D4815 |  |  |  |
| - E.T.B.E. | %V/V | D4815 |  |  |  |
| - i-Butanol | %V/V | D4815 |  |  |  |
| - i-Propanol | %V/V | D4815 |  |  |  |
| - Methanol | %V/V | D4815 |  |  |  |
| - M.T.B.E. | %V/V | D4815 |  |  |  |
| - TAME | %V/V | D4815 |  |  |  |
| - tert-Butanol | %V/V | D4815 |  |  |  |
| Oxygen content | %M/M | D4815 |  |  |  |
| Sulphur | mg/kg | D5453 |  |  |  |
| Oxidation Stability 3) | minutes | D525 |  |  |  |

3) Only report ”>” when above 900 minutes, otherwise report a real breakpoint

(**) See instructions

| Determination | Unit | Reference method (**) | Actual method used(**) | Unrounded result #1009 | Result #1009 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| RON/MON |  |
| - RONm 4) |  | D2699-..... |  |  |  |
| - RON * |  | D2699-..... |  |  |  |
| - MONm 4) |  | D2700-..... |  |  |  |
| - MON * |  | D2700-..... |  |  |  |

4) RON / MON measured, as specified in EN228:2008

(*) RON / MON with the correction of 0.2 according to EN228:2008

(**) See instructions

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of responsible manager:	Date of report:

# Instructions to participants for the Interlaboratory Study Gasoline iis10B01

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. + 31 181 69 4543 or email iisnl@sgs.com).

If bottles have been broken or have been leaking please do not accept the package from the courier. New samples are on account of the courier. When the bottles have been leaking, please report this as soon as possible.

*	Please records the date that the samples were received on the report forms (A and B).

*	This interlaboratory study concerns 2 identical samples of gasoline (2 * 1000 mL of sample #1009). Please treat the samples as if they were routine samples.

*	Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra figure) in order to give more meaningful statistical calculations. 	For example, when you use ASTM D1319 for the determination of Aromatics by FIA and you found a result of 26.3259 %V/V, we request you to report 26.33 %V/V in accordance with ASTM D1319 and 26.326 %V/V as ‘unrounded’ result.

*	Please report the methods used on the report form. If no Standard method is used, report 'in house' method or report the official standard method on which it is based with the remark 'mod' (modified). Also please report whether freezing point, distillation and viscosity were performed manually or by the use of an automated apparatus and report the type of capillary that was used in the determination of the viscosity.

*	On report form A and B an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column

*	Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: MARCH 5, 2010 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. + 31 181 69 45 41

fax.no. + 31 181 69 45 43

e-mail: iisnl@sgs.com