PROFICIENCY TEST	DVPE on BIOGASOLINE E10 iis10B02-DVPE	2010

# Report form for analysis results of sample #1045

# Report to:	ing. R.J. Starink 						                before May 28, 2010		fax. + 31 181 69 45 43 or email iisnl@sgs.com (preferred)

| Determination | unit | Reference method (**) | Actual method used(**) | Unrounded result #1045 | Result #1045 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Total vapour pressure | psi 1) | D5191 |  |  |  |
| DVPE acc.to ASTM D5191 2) | psi 1) | D5191 |  |  |  |
| DVPE acc.to EPA 2) | psi 1) | D5191 |  |  |  |

(**) See instructions

1) Please do not report in other units

2) See calculation formulae in the letter of instructions

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

Instructions to participants for the Interlaboratory Study DVPE on Biogasoline E10 iis10B02-DVPE

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. + 31 181 69 4543 or email iisnl@sgs.com).	
If the bottle has been broken or has been leaking please do not accept the package from the courier. A new sample is on account of the courier. When the bottle has been leaking, please report this as soon as possible.

*	Please records the date that the sample was received on the report form.

*	This interlaboratory study concerns 1 sample biogasoline E10 (approximately 750 mL of sample #1045). Please treat the sample as it was a routine sample.

*	Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances.

*	Please use the following formula’s for conversion of TVP to DVPE:

DVPE (ASTM D5191) = 0.965 x TVP - 0.548 psi	(TVP= Total Vapour Pressure)

DVPE (EPA) = 0.956 x TVP - 0.347 psi

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra figure) in order to give more meaningful statistical calculations. 	For example, when you use ASTM D5191 for the determination of Dry Vapour Pressure Equivalent and you found a result of 9.4321 psi, we request you to report 9.43 psi in accordance with ASTM D5191 and 9.432 psi as ‘unrounded’ result.

*	On the report form an extra column is added on request of several participants.  This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Please return the completed report form to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: MAY 28, 2010 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 69 45 41

fax.no. ++ 31 181 69 45 43

e-mail: iisnl@sgs.com