INTERLABORATORY STUDY  	METHANOL iis10C06                     	2010

# Report form for analysis results of sample #1052

# Report to: ing. R.J. Starink (fax.+31 181 69 4543 / email iisnl@sgs.com)	before September 24, 2010

| Determination | Unit | Reference method (***) | Actual method used (***) | Unrounded result #1052 | Result #1052 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Acidity as acetic acid | mg/kg | D1613 |  |  |  |
| Anorganic chloride as Cl | mg/kg | IMPCA002 |  |  |  |
| Appearance | --- | E2680 |  |  |  |
| Carbonisable substances Pt/Co | --- | E346 |  |  |  |
| Colour, Pt/Co |  | D1209 |  |  |  |
| Density at 20 oC | kg/l | D4052 |  |  |  |
| Distillation @760 mmHg | AUTOMATIC / MANUAL #) A / M |
| - Initial Boiling Point | °C | D1078 |  |  |  |
| - 50% Boiling Point | °C | D1078 |  |  |  |
| - Dry Point | °C | D1078 |  |  |  |
| Miscibility, Water | --- | D1722 |  |  |  |
| Nonvolatile matter | mg/100ml | D1353 |  |  |  |
| Purity as received | %M/M |  |  |  |  |
| Purity on dry basis | %M/M | IMPCA001 |  |  |  |
| Acetone | mg/kg | IMPCA001 |  |  |  |
| Benzene | mg/kg | IMPCA001 |  |  |  |
| Ethanol | mg/kg | IMPCA001 |  |  |  |
| Toluene | mg/kg | IMPCA001 |  |  |  |
| Permanganate time test @15°C | min * | D1363 |  |  |  |
| Specific Gravity 20°/20° |  |  |  |  |  |
| Apparent Specific Gravity 20°/20° |  |  |  |  |  |
| Total iron as Fe | mg/kg | E394 |  |  |  |
| Trimethylamine | μg/kg | E346 |  |  |  |
| Water (coulometric) ** | mg/kg | E1064 |  |  |  |
| Water (titrimetric) ** | mg/kg | E203 |  |  |  |

#  please circle the correct option

* Please report exact time for PTT (not > 90 min or > 120 min)

** Please perform both tests if possible

*** See letter of Intructions

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

INTERLABORATORY STUDY  	METHANOL iis10C06                     	2010

# Report form for analysis results of samples #S-01 + #S-02

# Report to: ing. R.J. Starink (fax.+31 181 69 4543 / email iisnl@sgs.com)	before September 24, 2010

# Sample #S-01  (range 0.1 – 1.0 mg/kg)

| Determination | Unit | Reference method | Actual method | Unrounded result #S-01 | Result #-S01 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Sulphur | mg/kg | D5453 | XXXX |  |  |
| Sulphur | mg/kg | D3961 | XXXX |  |  |
| Sulphur | mg/kg | Other method |  |  |  |

Sample #S-02 (range 0.5 – 2.0 mg/kg)

| Determination | Unit | Reference method | Actual method | Unrounded result #S-02 | Result #-S02 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Sulphur | mg/kg | D5453 | XXXX |  |  |
| Sulphur | mg/kg | D3961 | XXXX |  |  |
| Sulphur | mg/kg | Other method |  |  |  |

These two samples are especialy for the determination of Sulphur in a low range.

Would you please be so kind to report the actual value found and not a ”Less then” value.

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

Instructions to participants for the Methanol Round Robin iis10C06

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 69 4543 or email iisnl@sgs.com).

If the bottles have been broken or have been leaking please do not accept the package from the courier.

A new sample is on account of the courier. When the bottles have been leaking, please report this on the fax form.

*	Please record the date that the sample was received on report form.

*	This interlaboratory study concerns 1 sample of methanol (1*1 L bottle, labeled #1052) and 2 samples of methanol especially for Sulphur determination (1*8 mL vial labeled #S-01 and 1*8 mL vial labeled #S-02) Please treat the samples as if it were routine samples.

*	Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical.

*	On the report form an extra column is added on request of several participants.

This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory.

So when you normally use in day-to-day circumstances an other method than the method prescribed in  the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D1613 for the determination of Acidity and you found a result of 0.003456 %M/M, we request you to report 0.0035 %M/M in accordance with ASTM D1613 and 0.00346 %M/M as ‘unrounded’ result.

- Please report the methods used on the report form. If no Standard method is used, report 'in house' method or report the official standard method on which it is based with the remark 'mod' (modified).

*	Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: SEPTEMBER 24, 2010 (preferably by e-mail to iisnl@sgs.com).

*	If you have any remarks/questions please contact:

ing. R.J.Starink,  Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 694541    /    fax.no. +31 181 694543

e-mail: iisnl@sgs.com