INTERLABORATORY STUDY     BIODIESEL 100% FAME (B100) iis10G02TC	2010

(according specifications EN14214)

Report form for analysis result of Total Contamination on sample #1037

# Report to:	Mr. R.J.Starink before May 7, 2010 faxno. + 31 181 69 45 43 or email iisnl@sgs.com (preferred)

| Determination | unit | Reference method (**) | Actual method used (**) | Unrounded result #1037 | result #1037 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Total Contamination | mg/kg | EN12662 1) |  |  |  |
| Volume used (800 or 300 mL)* | mL |  |  |  |  |

(*) Please shake well before use

(**) Please see instructions

1) Please provide which version of method was used (e.g. EN12662:1997 or 2007)

_________________________________________________________________

Name of laboratory:	date of sample receipt:

Country:	City:

Name of responsible manager:	date of report:

# Instructions to participants for the interlaboratory study BIODIESEL 100% FAME (B100) iis10G02TC

*	Please confirm sample receipt as soon as you have received and checked the contents of  this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (email iisnl@sgs.com or faxno. ++ 31 181 69 45 43). If bottle has been broken or has been leaking  please do not accept the package from the courier. A new sample is on account of the courier. When the bottle has been leaking, please report this on the fax form.

*	Please records the date that the sample was received on the report form.

*	This interlaboratory study concerns one sample (one bottle of 1 L, sample #1037). Please treat the sample as if it was a routine sample.

*	Each laboratory is requested to analyse the sample in the way it would normally do in day-to-day circumstances.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use EN12662 for the determination of Total Contamination and you found a result of 10.38 mg/kg, we request you to report 10.4 mg/kg in accordance with EN12662 and 10.38 mg/kg as ‘unrounded’ result.

# *	On the report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and report the actual used method in the ”actual method used” column.

*	Return the completed report form to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: MAY 7, 2010 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

p.o. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 69 45 41 or ++ 31 181 69 45 40

faxno. ++ 31 181 69 45 43

email: iisnl@sgs.com