INTERLABORATORY STUDY 	2010

FAME on Jet Fuel - Joint System Check List iis10J02FAME

Report form for analysis results of samples #1057

# Report to:     R.J. Starink   								before October 1, 2010

# faxno. + 31 181 69 45 43 or email iisnl@sgs.com

| FAME Determination | unit | Actual method used (*) | ’unrounded’ Result #1057 | result #1057 cfr. used standard |
| --- | --- | --- | --- | --- |
| FAME content | mg/kg |  |  |  |

* See letter of instructions

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

# Instructions to participants for the interlaboratory study Jet Fuel A1 iis10J02FAME

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. + 31 181 69 45 43 or email iisnl@sgs.com). If bottle has been broken or has been leaking please do not accept the package from the courier. A new sample is on account of the courier. When the bottle has been leaking, please report this on the fax form.

*	Please record the date that the sample was received on the report form.

*	This interlaboratory study concerns 1 sample of 100mL (#1057) for FAME test only according to the Joint System Check List. Please treat the sample as if it was a routine sample.

*	Each laboratory is requested to analyse the sample in the way it would normally do in day-to-day circumstances.

*	Report the analytical results on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

*	Please report the methods used on the report form. If no Standard method is used, report 'in house' method or report the official standard method on which it is based with the remark 'mod' (modified).

# *	On report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory.

So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: OCTOBER 1, 2010 (preferably by e-mail to iisnl@sgs.com).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. + 31 181 69 45 41

fax.no. + 31 181 69 45 43

e-mail: iisnl@sgs.com