INTERLABORATORY STUDY     LUBRICATING OIL  iis10L01b 	2010

Report form A for analysis results of sample #1042 (USED LUBRICATION OIL)

Report to:	R.J. Starink before May 21, 2010

# fax no. 0031 181 69 45 43 or email iisnl@sgs.com

| Determination | unit | Reference method (**) | Actual method used (**) | Unrounded result #1042 | result #1042 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Acid Number (total) | mg KOH/g | D664 |  |  |  |
| Base Number (total) | mg KOH/g | D2896 |  |  |  |
| Density @ 15°C 1) | kg/L | D4052 |  |  |  |
| Kinematic viscosity @40°C | mm2/s | D445 |  |  |  |
| Kinematic viscosity @100°C | mm2/s | D445 |  |  |  |
| Water | mg/kg | D6304 |  |  |  |
| Flash Point PMcc | Automatic / Manual: A / M 2) Flame / Electr. mode: F / E 2) |
| Flash Point PMcc | oC | D93 |  |  |  |

(**) the below methods are NOT mandatory! please see the attached intructions

1) Which table was used for density calculations (e.g. ASTM table 54D):______________

2) Please circle the correct option

Name of laboratory:	date of sample receipt:

Country:	City:

Name of contact person:	date of report:

INTERLABORATORY STUDY     LUBRICATING OIL  iis10L01b 	2010

Report form B for analysis results of sample #1043 (USED LUBRICATION OIL)

Report to:	R.J. Starink before May 21, 2010

# fax no. 0031 181 69 45 43 or email iisnl@sgs.com

| Determination | unit | Reference method (**) | Actual method used (**) | Unrounded result #1043 | result #1043 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Wear Metals |  |
| Aluminium as Al | mg/kg | D5185 |  |  |  |
| Barium as Ba | mg/kg | D5185 |  |  |  |
| Chromium as Cr | mg/kg | D5185 |  |  |  |
| Copper as Cu | mg/kg | D5185 |  |  |  |
| Iron as Fe | mg/kg | D5185 |  |  |  |
| Lead as Pb | mg/kg | D5185 |  |  |  |
| Lithium as Li | mg/kg |  |  |  |  |
| Magnesium as Mg | mg/kg | D5185 |  |  |  |
| Manganese as Mn | mg/kg | D5185 |  |  |  |
| Molybdenum as Mo | mg/kg | D5185 |  |  |  |
| Nickel as Ni | mg/kg | D5185 |  |  |  |
| Sodium as Na | mg/kg | D5185 |  |  |  |
| Silicon as Si | mg/kg | D5185 |  |  |  |
| Silver as Ag | mg/kg | D5185 |  |  |  |
| Tin as Sn | mg/kg | D5185 |  |  |  |
| Titanium as Ti | mg/kg | D5185 |  |  |  |
| Vanadium as V | mg/kg | D5185 |  |  |  |
| Additives |  |
| Calcium as Ca | mg/kg | D5185 |  |  |  |
| Phosphorus as P | mg/kg | D5185 |  |  |  |
| Zinc as Zn | mg/kg | D5185 |  |  |  |

(**) please see the attached intructions

Name of laboratory:	date of sample receipt:

Country:	City:

Name of contact person:	date of report:

# Instructions to participants for the Interlaboratory Study USED LUBRICATING OIL iis10L01b

*	Please confirm sample receipt as soon as you have received and checked the contents of  this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (email iisnl@sgs.com or faxno. ++ 31 181 69 45 43). If bottles have been broken or have been leaking  please do not accept the package from the courier. New samples are on account of the courier. When the bottles have been leaking, please report this on the fax form.

*	Please record the date that the samples were received on the report form.

*	This interlaboratory study concerns two different samples (one bottle of 500 mL, sample #1042, and one bottle of 50 mL, especially for wear metals, sample #1043). Please treat the samples as if these were routine samples.

*	Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analysis if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical for you lab.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D4052 for the determination of Density and you found a result of 0.81234 kg/l, we request you to report 0.8123 kg/l in accordance with ASTM D4052 and 0.81234 kg/l as ‘unrounded’ result.

# *	On the report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column. Please use your method and report the actual used method in the ”actual method used” column.

*	Return the completed report form to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: MAY 21, 2010 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

p.o. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 69 45 41 or ++ 31 181 69 45 40

faxno. ++ 31 181 69 45 43

email: iisnl@sgs.com