INTERLABORATORY STUDY                ACETONE iis11C07                     	2011

# Report form for analysis results on sample #11062

# Report to: 	Ing. R.J. Starink 						before September 23, 2011

# faxno. + 31 181 69 4543 or email iisnl@sgs.com

| Determination | unit | Reference method (***) | Actual method used (***) | ’unrounded’ result #11062 | result #11062 rounded cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Acidity (as free acetic acid) | %M/M | D1613 |  |  |  |
| Aldehydes |  | D329 |  |  |  |
| Appearance | --- | E2680 |  |  |  |
| Chloride as Cl | mg/kg | Titrimetric |  |  |  |
| Colour Pt/Co |  | D1209 |  |  |  |
| Density at 20 oC | kg/L | D4052 |  |  |  |
| Distillation @760 mm Hg | Automated / Manual A / M *) |
| - IBP | °C | D1078 |  |  |  |
| - 50% Boiling Point | °C | D1078 |  |  |  |
| - Dry Point | °C | D1078 |  |  |  |
| Miscibility with water | --- | D1722 |  |  |  |
| Nonvolatile matter | mg/100ml | D1353 |  |  |  |
| Purity | %M/M |  |  |  |  |
| Purity on dry basis | %M/M |  |  |  |  |
| Diacetonalkohol | mg/kg |  |  |  |  |
| Mesityloxide | mg/kg |  |  |  |  |
| Methanol | mg/kg |  |  |  |  |
| Permanganate time test @25°C | min **) | D1363 |  |  |  |
| Refractive index @20 oC |  | D1218 |  |  |  |
| Water | mg/kg | D1364 |  |  |  |

*) Please circle the correct option

**) Please report exact time for PTT (not > 90 min or > 120 min)

***) See instructions

Name of laboratory:	date of sample receipt:

Country:	City:

Name of contact person:	date of report:

Instructions to participants for the Acetone Round Robin iis11C07

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 694543 or email iisnl@sgs.com). When the bottles have been broken, please do not accept the package from the courier. Please be noticed that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.spijkenisse.saman@sgs.com.

*	Please record the date that the sample was received on report form.

*	This interlaboratory study concerns 1 sample of acetone (1*1 L bottle, labeled #11062). Please treat the sample as if it was a routine sample.

*	Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical.

*	On the report form an extra column is added on request of several participants.

This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory.

So when you normally use in day-to-day circumstances an other method than the method prescribed in  the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D1613 for the determination of Acidity and you found a result of 0.003456 %M/M, we request you to report 0.0035 %M/M in accordance with ASTM D1613 and 0.00346 %M/M as ‘unrounded’ result.

- Please report the methods used on the report form. If no standard method is used report the official standard method on which it is based with the remark 'mod' (modified).

*	Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: SEPTEMBER 23, 2011 (preferably by e-mail to iisnl@sgs.com).

*	If you have any remarks/questions please contact:

ing. R.J.Starink,  Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 694541    /    fax.no. +31 181 694543

e-mail: iisnl@sgs.com