PROFICIENCY TEST   	          Specific migration on food contact materials iis12P05SM

Report to: 	ing. R.J. Starink

fax.  + 31 181 69 4543 or email iisnl@sgs.com (preferred)

REPORT FORM A (iis12P05SM) 	Report before 24th October, 2012

Please take care to use the fixed test conditions as given below!

Predetermined test conditions to be used by the participating laboratories:

| Sample ID | #12112 |
| --- | --- |
| Simulant | acetic acid 3% in water |
| Bowl volume | 600 cm3 |
| Simulant amount | 200 ml (preheated) |
| Exposure time | 2.0 hrs |
| Exposure temperature | 70.0 °C |
| Contact surface | 1.50 dm2 |
| Migration method | Article filling |

| First test results1 | Unit | Minimum no. of digits to use | Result #12112 |
| --- | --- | --- | --- |
| Concentration of formaldehyde in stimulant | mg/l | #.## |  |
| Specific migration of formaldehyde | mg/dm2 | #.## |  |
| Specific migration of formaldehyde | mg/kg | #.## |  |

| Second test results1 | Unit | Minimum no. of digits to use | Result #12112 |
| --- | --- | --- | --- |
| Concentration of formaldehyde in stimulant | mg/l | #.## |  |
| Specific migration of formaldehyde | mg/dm2 | #.## |  |
| Specific migration of formaldehyde | mg/kg | #.## |  |

| Third test results1 | Unit | Minimum no. of digits to use | Result #12112 |
| --- | --- | --- | --- |
| Concentration of formaldehyde in stimulant | mg/l | #.## |  |
| Specific migration of formaldehyde | mg/dm2 | #.## |  |
| Specific migration of formaldehyde | mg/kg | #.## |  |

(1) Please see the letter of instructions

Name of laboratory:	Date of sample receipt:

City:	Country:

Name of contact person:	Date of report:

# PROFICIENCY TEST                      Specific migration on food contact materials iis12P05SM

Report to: 	ing. R.J. Starink

fax.  + 31 181 69 4543 or email iisnl@sgs.com (preferred)

REPORT FORM B (iis12P05SM) 	         Report before 24th October, 2012

Please also report the conditions that your laboratory would have used a sample #12112 when not set by PT organiser:

|  | Unit | Value |
| --- | --- | --- |
| Simulant (type, e.g. water, 95% ethanol, 3% acetic acid, other) |  |  |
| Bowl volume | cm3 |  |
| Amount of simulant used | ml |  |
| Exposure time | hrs |  |
| Exposure temperature | °C |  |
| Contact surface calculated (or estimated) | dm2 |  |
| Reporting unit (e.g. mg, mg/dm2, mg/kg, other) |  |  |
| Migration method: (article filling, total immersion, pouch, cell, other) |  |  |

Test method used : _________________________________________________________________

Method used to determine the contact surface in dm2 : _____________________________________

Remarks : ________________________________________________________________________

Name of laboratory:	Date of sample receipt:

City:	Country:

Name of contact person:	Date of report:

# LETTER OF INSTRUCTIONS

- Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to iis (email iisnl@sgs.com or fax no. ++ 31 181 69 4543).

- This interlaboratory study concerns a bowl that’s used for food in a household situation and therefore the specific migration should be limited. A bowl will be re-used many times. Each participating laboratory receives one bowl for determination of the specific migration by article filling.

- To reduce the number of variables and thus the expected spread in results several test conditions are predetermined, see Report Form A. However, we also would like to know what each laboratory would have used for these variables in this case, when they were not predetermined as in this PT.

- Laboratories are requested to determine and report the specific migration of formaldehyde on food contact by filling after each migration step. The test results are expressed in mg/l, mg/dm2 and in mg/kg.

- Report the test results on the report form A, using the indicated units and the minimum number of digits. Also do not report ‘less than’-results, which are above your detection limit. Results reported as ‘less than’, not detected and nil (or zero) cannot be used for meaningful statistical calculations.

- Please also report the test method used. When no standardised test method is used, please give a summary of the test method.

- Please also report the test conditions that you would have used when these were not predetermined by iis. Also report the method that you used to determine the contact surface. Please do this on

report form B.

- Please return the completed report forms to iis , The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: 24th October, 2012 (preferably by email).

- For your info, the reproducibility from EN1186-9 will be used to calculate the z-scores in the final report.

- If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 69 4541

fax.no. ++ 31 181 69 4543

e-mail: iisnl@sgs.com