PROFICIENCY TEST                         MTBE iis13C01	2013

Report form A for analysis results on sample #13003 MTBE

# Report to:	R.J.Starink before March 1, 2013

faxno. + 31 181 69 45 43 or e-mail to: iisnl@sgs.com

| Determination | unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #13003 | result #13003 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Appearance |  | E2680 |  |  |  |
| Density @ 15 °C | kg/L | D4052 |  |  |  |
| Refractive Index 20ºC |  | D1218 |  |  |  |
| Carbonyls | µg/g | E411 |  |  |  |
| Water | mg/kg | E1064 |  |  |  |
| Purity by GLC | % M/M | D5441 |  |  |  |
| Methanol | % M/M | D5441 |  |  |  |
| Diisobutylene (= sum 5 DIB’s) | % M/M | D5441 |  |  |  |
| - 2,4,4-triMethyl-1-pentene | % M/M | D5441 |  |  |  |
| - 2,4,4-triMethyl-2-pentene | % M/M | D5441 |  |  |  |
| - 2,3,4-triMethyl-2-pentene | % M/M | D5441 |  |  |  |
| - 3,4,4-triMethyl-1-pentene | % M/M | D5441 |  |  |  |
| - 3,5-diMethyl-1-hexene | % M/M | D5441 |  |  |  |
| tert.butylalcohol | % M/M | D5441 |  |  |  |
| Hydrocarbons C4 | % M/M | D5441 |  |  |  |
| Hydrocarbons C5 | % M/M | D5441 |  |  |  |
| Other hydrocarbons | % M/M |  |  |  |  |
| Unknown impurities (1) | % M/M |  |  |  |  |

(1) Please report response factor, used for quantification of unknown impurities: _____

# (**) Please see the letter of instructions

Name of laboratory:	Date of sample receipt:

Country:                                                                              City:

Name of contact person:                                                            Date of report:

Instructions to participants for the interlaboratory study MTBE iis13C01

- Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 694543 or email iisnl@sgs.com). When the bottles have been broken, please do not accept the package from the courier. Please be noticed that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com

*	Please record the date that the sample was received on the report form.

*	This interlaboratory study concerns one sample of MTBE  (a 500 ml glass bottle #13003). Please treat the sample as if it was a routine sample.

*	Each laboratory is requested to analyse the sample in the way it would normally do in day-to-day circumstances.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D4052 for the determination of Density and you found a result of 0.71234 g/mL, we request you to report 0.7123 g/mL in accordance with ASTM D4052 and 0.71234 g/mL as ‘unrounded’ result.

# *	On the report form an extra column is added on request of several participants.

# This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory.

So when you normally use in day-to-day circumstances another method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Please return the completed report form(s) to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: MARCH 1, 2013 (preferably by fax).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 694540 or ++ 31 181 694541

fax.no. ++ 31 181 694543

e-mail: iisnl@sgs.com