INTERLABORATORY STUDY     BIODIESEL 100% FAME (B100) iis13G02	2013

(based on specifications EN14214 and ASTM D6751)

Report form A for analysis results on sample #13053

# Report to:	Mr. R.J.Starink before May 17, 2013 faxno. + 31 181 69 45 43 or email iisnl@sgs.com (preferred)

| Determination | unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #13053 | result #13053 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Acid Value | mg KOH/g | EN14104 |  |  |  |
| Acid Number | mg KOH/g | D664-B |  |  |  |
| Carbon Residue on 10% dist. | %M/M | ISO10370 |  |  |  |
| Carbon Residue on 100% dist.* | %M/M | D4530 |  |  |  |
| CFPP | ºC | EN116 |  |  |  |
| Cloud Point | °C | D2500/EN23015 |  |  |  |
| Copper Strip Corrosion 3h/50ºC | class | D130/ISO2160 |  |  |  |
| Density @15 ºC | kg/m3 | ISO12185 |  |  |  |
| Flash Point (recc) | ºC | ISO3679 |  |  |  |
| Flash Point (PMcc) | ºC | D93/ISO2719 |  |  |  |
| Iodine Value | g I2/100g | EN14111 |  |  |  |
| KinematicViscosity @ 40 ºC | mm2/s | D445/ISO3104 |  |  |  |
| Oxidation Stability | hours | EN14112 |  |  |  |
| Sulphur | mg/kg | ISO20846 |  |  |  |
| Sulphur | mg/kg | D5453 |  |  |  |
| Sulphated Ash | %M/M | D874/ISO3987 |  |  |  |
| Water | %M/M | ISO12937 |  |  |  |

*     NB:  calculation based on 10% residue.

(**) Please see the letter of instructions

1 )    Please circle the correct option

Name of laboratory:	Date of sample receipt:

Country:                                                                              City:

Name of contact person:                                                            Date of report:

INTERLABORATORY STUDY     BIODIESEL 100% FAME (B100) iis13G02 	2013

(based on specifications EN14214 and ASTM D6751)

Report form B for analysis results on sample #13053

# Report to:	Mr. R.J.Starink before May 17, 2013 fax no. + 31 181 69 45 43 or email iisnl@sgs.com (preferred)

| Determination | unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #13053 | Result #13053 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Methanol | Procedure EN14110 used: A / B 1) |
| -Methanol | %M/M | EN14110 |  |  |  |
| Monoglycerides | %M/M | EN14105 |  |  |  |
| Diglycerides | %M/M | EN14105 |  |  |  |
| Triglycerides | %M/M | EN14105 |  |  |  |
| Free Glycerol | %M/M | EN14105 |  |  |  |
| Total Glycerol | %M/M | EN14105 |  |  |  |
| Total Ester Content | Version: EN14103:03 or EN14103:.. 1)*** |
| -Total Ester Content | %M/M | EN14103 |  |  |  |
| Linolenic Acid Methyl Ester | %M/M | EN14103 |  |  |  |
| Polyunsaturated (≥ 4 double bonds) methyl esters | %M/M | EN15779 |  |  |  |

# 1)     Please circle the correct option

# (**) Please see the letter of instructions

# (***)Note: version EN14103:03 is mentioned in specification EN14214:12 and  differs significantly from EN14103:11.

Please note that for some determinations both ASTM and EN methods are technically equivalent

(eg. Flash Point PMcc).

Name of laboratory:	                                                    Date of sample receipt:

Country:                                                                             City:

Name of contact person:                                                           Date of report:

INTERLABORATORY STUDY     BIODIESEL 100% FAME (B100) iis13G02 	2013

(based on specifications EN14214 and ASTM D6751)

Report form C for analysis results on sample #13056

# Report to:	Mr. R.J.Starink before May 17, 2013 fax no. + 31 181 69 45 43 or email iisnl@sgs.com (preferred)

| Determination | unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #13056 | Result #13056 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Calcium & Magnesium | mg/kg | EN14538 |  |  |  |
| Phosphorus | mg/kg | EN14107 |  |  |  |
| Potassium | mg/kg | EN14109 |  |  |  |
| Sodium | mg/kg | EN14108 |  |  |  |

(**) Please see the letter of instructions

Name of laboratory:	                                                    Date of sample receipt:

Country:                                                                             City:

Name of contact person:                                                           Date of report:

Instructions to participants for the interlaboratory study BIODIESEL 100% FAME  iis13G02

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (email iisnl@sgs.com or faxno. ++ 31 181 694543 ). When the bottles have been broken, please do not accept the package from the courier. Please be noticed that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.spijkenisse.saman@sgs.com.

*	Please records the date that the samples were received on the report form.

*	This interlaboratory study concerns one bottle of 1L and one bottle of 0.5L, both labelled #13053 (these samples are identical to each other) and one bottle of 0.1L, labelled #13056 especially

for the analysis of metals only. Please treat the samples as if they were routine samples.

*	Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analysis if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical for you lab.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D4052 for the determination of Density and you found a result of 0.88477 kg/L, we request you to report 0.8848 kg/l in accordance with ASTM D4052 and 0.88477kg/L as ‘unrounded’ result.

# *	On the report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column. Please use your method and report the actual used method in the ”actual method used” column.

*	Return the completed report form(s) to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: MAY 17, 2013 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

p.o. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 69 45 41 or ++ 31 181 69 45 40

faxno. ++ 31 181 69 45 43

email: iisnl@sgs.com