INTERLABORATORY STUDY **BIODIESEL 100% FAME (B100) iis13G05M**

(based on specifications EN14214)

**lab code:**

Report form for analysis results on sample #13182

Report to: Mr. R.J. Starink **before October 18, 2013**

fax no. + 31 181 69 45 43 or email [iisnl@sgs.com](mailto:iisnl@sgs.com) (preferred)

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Determination** | **unit** | **Reference method (\*\*)** | **Actual method used (\*\*)** | **’unrounded’**  **result #13182** | **Result #13182**  ***cfr.* used standard** |
| Calcium & Magnesium | mg/kg | EN14538 |  |  |  |
| Phosphorus | mg/kg | EN14107 |  |  |  |
| Potassium | mg/kg | EN14109 |  |  |  |
| Sodium | mg/kg | EN14108 |  |  |  |

(\*\*) Please see the letter of instructions

Name of laboratory: Date of sample receipt:

Country: City:

Name of contact person: Date of report:

Instructions to participants for the interlaboratory study BIODIESEL 100% FAME iis13G05

\* **Please confirm sample receipt** as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (email [iisnl@sgs.com](mailto:iisnl@sgs.com) or faxno. ++ 31 181 694543 ). When the bottles have been broken, please do not accept the package from the courier. Please be noticed that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to [nl.spijkenisse.saman@sgs.com](mailto:nl.spijkenisse.saman@sgs.com).

\* Please records the date that the samples were received on the report form.

\* This interlaboratory study concerns one bottle of 0.1L labelled #13182. Please treat the samples **as if they were routine samples**.

\* Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances. Furthermore, each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analysis if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical for your lab.

\* Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use ASTM D4052 for the determination of Density and you found a result of 0.88477 kg/L, we request you to report 0.8848 kg/l in accordance with ASTM D4052 and 0.88477kg/L as ‘unrounded’ result.

\* On the report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column. Please use your method and report the actual used method in the ”actual method used” column.

\* In order to avoid mix-up of test results we have added a box for your laboratory code. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

\* Please return the completed report form(s) to the Institute for Interlabo­ratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but **in any case before** the indicated closing date: **October 18, 2013** (preferably by email).

\* If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

p.o. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 69 45 41 or ++ 31 181 69 45 40

faxno. ++ 31 181 69 45 43

email: [iisnl@sgs.com](mailto:iisnl@sgs.com)