PROFICIENCY TEST                  Natural Gas iis13S01M 	2013

Report form for analysis results of sample #13030

Report to:	R.J. Starink before April 19, 2013

fax no. + 31 181 69 45 43 or e-mail to: iisnl@sgs.com

Please report the cylinder number: ___________

| Determination | Actual test method used | Preferred minimum of digits | Result #13030 in %mol/mol normalized | Result #13030 in %mol/mol before norm. |
| --- | --- | --- | --- | --- |
| Composition |
| * Methane |  | ##.### |  |  |
| * Ethane |  | #.### |  |  |
| * Propane |  | #.### |  |  |
| * n-Butane |  | #.### |  |  |
| * iso-Butane |  | #.### |  |  |
| * Carbon dioxide |  | #.### |  |  |
| * Nitrogen |  | #.### |  |  |

| Determination | Actual method used | Preferred minimum of digits | Result #13030 real gas (*) | Result #13030 ideal gas |
| --- | --- | --- | --- | --- |
| Physical properties (101.325 Kpa, combustion temp. 25°C, a metering temp. 0°C): |
| Caloric Value (sup) in MJ/m3 |  | ##.### |  |  |
| Density in kg/m3 |  | #.#### |  |  |
| Relative Density |  | #.#### |  |  |
| Wobbe index in MJ/m3 |  | #.### |  |  |
| Physical properties (101.325 Kpa, combustion temp. 15°C, a metering temp. 15°C): |
| Caloric Value (sup) in MJ/m3 |  | ##.### |  |  |
| Density in kg/m3 |  | #.#### |  |  |
| Relative Density |  | #.#### |  |  |
| Wobbe index in MJ/m3 |  | #.### |  |  |

(*) Please report the compressibility factor used for conversion to real gas: ___________________

Additional remarks:

Name of laboratory:	Date of sample receipt:

Country:                                                                                         City:

Name of contact person:                                                                       Date of report:

Instructions to participants for the Natural Gas iis13S01M

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and fax it to iis (email iisnl@sgs.com or faxno. ++ 31 181 694543 or).  If the package was visually damaged, please do not accept the package from the courier. Please be noticed that we will only send replacement cylinder at our cost when there is proof of the cylinder is damaged upon receipt. This means that the consignee must report the damage immediately. The consignee should take pictures of how the package and cylinder looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.spijkenisse.saman@sgs.com.

*	The cylinder has a DIN-1 connection. Please notify us immediately in case you are not able to use this connection due to lack of a suitable connector.

*	Please record on the report form before using it for analysis:

- the date that the cylinder was received

- the cylinder number (on the plasticized label)

*	This interlaboratory study concerns a one Litre cylinder with Natural Gas (sample #13030). Please   treat the sample as if it was a routine sample.

*	Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances.

*	Report the analytical results using the indicated units on the report form and the requested minimum number of significant digits. Preferably unrounded results are used for the statistical evaluation.

*	The reference method for all tests is ISO6974-3. Please report the methods used on the report form. If no Standard method is used, report the reference number of the 'in house' method that was used. Please send us the requested details of the method.

*	Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: April 19, 2013 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. ++ 31 181 694541

fax.no. ++ 31 181 694543

e-mail: iisnl@sgs.com