# Report form for analysis results of sample #14002                         	       before February 14, 2014

| Determination | Unit | Reference method (**) | Actual method used (**) | 'unrounded' result #14002 | result #14002 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Metals |  |
| - Aluminium, Al | mg/kg | IP501 |  |  |  |
| - Silicon, Si | mg/kg | IP501 |  |  |  |
| - Sum Aluminium / Silicon | mg/kg | IP501 |  |  |  |
| - Iron as Fe | mg/kg | IP501 |  |  |  |
| - Nickel as ni | mg/kg | IP501 |  |  |  |
| - Sodium as Na | mg/kg | IP501 |  |  |  |
| - Vanadium as V | mg/kg | IP501 |  |  |  |
| - Calcium as Ca | mg/kg | IP501 |  |  |  |
| - Phosphorus as P | mg/kg | IP501 |  |  |  |
| - Zinc as Zn | mg/kg | IP501 |  |  |  |

(**) Please see the letter of instructions

Name of laboratory:	Date of sample receipt:

Country:                                                                              City:

Name of contact person:                                                            Date of report:

# Instructions to participants for the Fuel Oil Round Robin iis14F01M

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 694543 or email iisnl@sgs.com). When the bottles have been broken, please do not accept the package from the courier. Please be noticed that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com.

*	Please record the date that the samples were received on the report form.

*	This interlaboratory study concerns 1 sample Fuel Oil especially for metals (100ml bottle, labelled #14002). Please treat the samples as it was a routine sample. Each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical.

*	On the report form an extra column is added. This column is named:”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use IP501 for the determination of Aluminium and you found a result of 15.323 mg/kg, we request you to report 15 mg/kg in accordance with IP501 and 15.3 mg/kg as ‘unrounded’ result.

* 	Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: FEBRUARY 14, 2014 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 45 41

fax.no. +31 181 69 45 43

e-mail: iisnl@sgs.com