Report form for analysis results of sample #14017 				before March 28, 2014

According to the scope of Joint Fuel System Check List

| Particle Size Determination | unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #14017 | result #14017 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| ≥ 4 μm | ml-1 * | IP564 |  |  |  |
| ≥ 6 μm | ml-1 * | IP564 |  |  |  |
| ≥ 14 μm | ml-1 * | IP564 |  |  |  |
| ≥ 21 μm | ml-1 * | IP564 |  |  |  |
| ≥ 25 μm | ml-1 * | IP564 |  |  |  |
| ≥ 30 μm | ml-1 * | IP564 |  |  |  |

*   Particles per mL (do not report the ISO class, these results have no statistical value and  the z-scores can not be calculated)

** Please see letter of instructions

Name of laboratory:	Date of sample receipt:

Country:                                                                                       City:

Name of contact person:                                                                      Date of report:

# Instructions to participants for the interlaboratory study Particle Size on Jet Fuel A1 iis14J01PS

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. + 31 181 694543 or email iisnl@sgs.com). When the bottles have been broken, please do not accept the package from the courier. Please note that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com.

*	Please record the date that the sample was received on the report form.

*	This interlaboratory study concerns 1 sample #14017, a 0.5 L bottle for PARTICLE  SIZE test only. Please treat the sample as if it was a routine sample.

*	Report the analytical results on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

*	Please report the method used on the report form.

# *	On report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory.

So when you normally use in day-to-day circumstances an other method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	In order to avoid mix-up of test results we have added a box for your laboratory code in the header section of this form. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

*	Please return the completed report form to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: March 28, 2014 (preferably by e-mail to iisnl@sgs.com).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. + 31 181 69 45 41

fax.no. + 31 181 69 45 43

e-mail: iisnl@sgs.com