REPORT FORM A – (iis14P08GM)                          Report before 10th October, 2014

Please take care to use during this PT the fixed test conditions as given below!

Predetermined test conditions to be used by the participating laboratories:

| Sample ID | #14180 |
| --- | --- |
| Glove | Turned inside out |
| Simulant | Iso-octane |
| Exposure time | 0.5 hrs |
| Exposure temperature | 40.0 °C |
| Migration method | Article filling |
| Simulant volume | as per method used |

Test results and method information:

| Test results1 | Unit | Minimum no. of digits to use | Result #14180 |
| --- | --- | --- | --- |
| Total residue after evaporation of all simulant | mg | #.## |  |
| Overall Migration | mg/dm2 | #.## |  |
| Overall Migration | mg/kg food | #.## |  |

(1) Please see the letter of instructions

|  | Answer |
| --- | --- |
| What test method was used? (e.g. EN1186-8) |  |
| What actual contact surface was used in dm2 |  |
| What actual amount of simulant was used in ml? |  |
| Was all simulant evaporated? |  |
| When no, what volume of simulant was used for evaporation? |  |

Remarks:

Name of laboratory:	Date of sample receipt:

City:	Country:

Name of contact person:	Date of report:

# LETTER OF INSTRUCTIONS

- Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the forms and return it to iis (email iisnl@sgs.com or fax no. +31 181 69 4543).

- This interlaboratory study concerns gloves that are to be used in food industry and therefore the overall migration should be limited. The gloves are for single use only and are disposed of after use. Each participating laboratory receives 4 identical gloves for the determination of the overall migration, also called total migration or global migration, by article filling. Please be aware that the gloves should be turned inside out before testing.

- To reduce the number of variables and thus the expected spread in results, several test conditions are predetermined, see Report Form A.

- Laboratories are requested to determine and report the overall migration on food contact by article filling.

- Report your test results on Report Form A in the indicated units mg, mg/dm2 and in mg/kg food and using the given minimum number of digits. Also please do not report ‘less than’-results, which are above your detection limit. Results reported as ‘less than’, not detected and nil (or zero) cannot be used for meaningful statistical calculations.

- Please report the test method that your laboratory used. When no standardised test method is used, please give a summary of the test method.

- For your info, the reproducibility from EN1186-8 will be used to calculate z-scores in the final report.

- In order to avoid mix-up of test results we have added a box for your laboratory code. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

- Please return the completed report forms to iis, the Netherlands, preferably already one week after sample receipt, but in any case before the closing date: 10th October, 2014 (preferably by email).

- If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, the Netherlands

tel.no. +31 181 69 4541

fax.no. +31 181 69 4543

e-mail: iisnl@sgs.com