Report form	Report before May 09, 2014

Test and report on sample #14050 - dried paint:

|  | Unit | Actual test method used (**) | Unrounded Results of #14050 | Rounded Results of #14050 |
| --- | --- | --- | --- | --- |
| Total Lead as Pb | mg/kg |  |  |  |

Test and report on sample #14051 - dried paint:

|  | Unit | Actual test method used (**) | Unrounded Results of #14051 | Rounded Results of #14051 |
| --- | --- | --- | --- | --- |
| Total Lead as Pb | mg/kg |  |  |  |

# (**) Please see the letter of  instructions

# Remarks:

Name of laboratory:	Date of sample receipt:

Country:                                                                                        City:

Name of contact person:                                                                Date of report:

INSTRUCTIONS TO PARTICIPANTS

- Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s.  by email iisnl@sgs.com  or faxno. ++ 31 181 69 4543.

- This interlaboratory study concerns 2 different samples of dried paint (#14050 and #14051) for    determination of total lead. You received approx. 0.5 grams of each sample.

Please treat each sample as if it are routine samples.

- Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances.

- Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the test method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations. Also, do not report ‘less than’-results which are above your detection limit. Results reported as ‘less than’ cannot be used for meaningful statistical calculations.

- Please report the methods used on the report form. If no Standard method is used, report the reference number of the 'in house' method that was used.

- In order to avoid mix-up of test results we have added a box for your laboratory code. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

- Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: MAY 09, 2014 (preferably by email).

- If you have any remarks/questions please contact:

ing. R.J. Starink

The Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, the Netherlands

Tel.no. ++ 31 181 69 45 41   Fax.no. ++ 31 181 69 45 43

e-mail: iisnl@sgs.com