# Report form A for analysis results of sample #15255

(according to Paving Grade EN12591)				                 before December 25th, 2015

Please note that this sample is a 70/100 grade bitumen.

| Determinations | Unit | Reference method (**) | Actual method used(**) | Unrounded result | Result cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Density at measured temperature | kg/m3 |  |  | at °C |
| Density at 25°C | kg/m3 | EN 15326 |  |  |  |
| Dynamic Shear Rheometer |  |
| - Shear Mod G* at 60°C, 1.59 Hz | Pa | EN14770 |  |  |  |
| - Phase Angle at 60°C, 1.59 Hz | ° | EN14770 |  |  |  |
| Dynamic Viscosity at 60°C | Pa.s | EN 12596 |  |  |  |
| Flash Point, COC | Procedure: MANUAL / AUTOMATED 1) |
| Flash Point, COC | °C | ISO 2592 |  |  |  |
| Fraass Breaking Point | Procedure: MANUAL / AUTOMATED 1) |
| Fraass Breaking Point | °C | EN 12593 |  |  |  |
| Kinematic Viscosity at 135°C | mm2/s | EN 12595 |  |  |  |
| Penetration at 25°C | 0.1 mm | EN1426 |  |  |  |
| Penetration Index | - | EN 12591 |  |  |  |
| RTFOT at 163°C |  |
| - Change of Mass | % | EN12607-1 |  |  |  |
| - Retained Penetration | % | EN12607-1 |  |  |  |
| - Viscosity Ratio | - | EN12607-1 |  |  |  |
| - Increase in Softening Point | °C | EN12607-1 |  |  |  |
| Softening Point (Ring&Ball) | °C | EN 1427 |  |  |  |
| Solubility in Xylene | %M/M | EN12592 |  |  |  |

1) Please circle the correct option

(**) Please see the letter of instructions

# Report form B for analysis results of sample #15256

(according to Paving Grade EN12591)				                 before December 25th, 2015

Please note that this sample is a 50/70 grade bitumen.

| Determinations | Unit | Reference method (**) | Actual method used(**) | Unrounded result | Result cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Density at measured temperature | kg/m3 |  |  | at °C |
| Density at 25°C | kg/m3 | EN 15326 |  |  |  |
| Dynamic Shear Rheometer |  |
| - Shear Mod G* at 60°C, 1.59 Hz | Pa | EN14770 |  |  |  |
| - Phase Angle at 60°C, 1.59 Hz | ° | EN14770 |  |  |  |
| Dynamic Viscosity at 60°C | Pa.s | EN 12596 |  |  |  |
| Flash Point, COC | Procedure: MANUAL / AUTOMATED 1) |
| Flash Point, COC | °C | ISO 2592 |  |  |  |
| Fraass Breaking Point | Procedure: MANUAL / AUTOMATED 1) |
| Fraass Breaking Point | °C | EN 12593 |  |  |  |
| Kinematic Viscosity at 135°C | mm2/s | EN 12595 |  |  |  |
| Penetration at 25°C | 0.1 mm | EN1426 |  |  |  |
| Penetration Index | - | EN 12591 |  |  |  |
| RTFOT at 163°C |  |
| - Change of Mass | % | EN12607-1 |  |  |  |
| - Retained Penetration | % | EN12607-1 |  |  |  |
| - Viscosity Ratio | - | EN12607-1 |  |  |  |
| - Increase in Softening Point | °C | EN12607-1 |  |  |  |
| Softening Point (Ring&Ball) | °C | EN 1427 |  |  |  |
| Solubility in Xylene | %M/M | EN12592 |  |  |  |

1) Please circle the correct option

(**) Please see the letter of instructions