Report form A for analysis results on sample #15045			before May 1, 2015

| Determination | unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #15045 | result #15045 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Acid Value | mg KOH/g | EN14104 |  |  |  |
| Acid Number | mg KOH/g | D664 |  |  |  |
| Cloud Point | °C | D2500 |  |  |  |
| Cold Filter Plugging Point | ºC | EN116 |  |  |  |
| Carbon Residue on 100% sample | %M/M | D4530 |  |  |  |
| Copper Strip Corrosion 3h/50ºC | rating |  |  |  |  |
| Density at 15 ºC | kg/m3 | ISO12185 |  |  |  |
| Flash Point, (PMcc) | ºC | D93 |  |  |  |
| Flash Point, (recc) | ºC | ISO3679 |  |  |  |
| Iodine Value | g I2/100g | EN14111 |  |  |  |
| Kinematic Viscosity at 40 ºC | mm2/s | ISO3104 |  |  |  |
| Oxidation Stability | hours | EN14112 |  |  |  |
| Sulphated Ash | %M/M | D874 |  |  |  |
| Sulphur | mg/kg | ISO20846 |  |  |  |
| Water content, KF | %M/M | ISO12937 |  |  |  |

(**) Please see the letter of instructions

Report form B for analysis results on sample #15045			before May 1, 2015

| Determination | unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #15045 | Result #15045 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Methanol | %M/M | EN14110 |  |  |  |
| Monoglycerides | %M/M | EN14105 |  |  |  |
| Diglycerides | %M/M | EN14105 |  |  |  |
| Triglycerides | %M/M | EN14105 |  |  |  |
| Free Glycerol | %M/M | EN14105 |  |  |  |
| Total Glycerol | %M/M | EN14105 |  |  |  |
| Total Ester Content | %M/M | EN14103 |  |  |  |
| Linolenic Acid Methyl Ester | %M/M | EN14103 |  |  |  |
| Polyunsaturated (≥ 4 double bonds) methyl esters | %M/M | EN15779 |  |  |  |

# (**) Please see the letter of instructions