INTERLABORATORY STUDY   JET FUEL A1 iis15J02 	                                           lab code:

Based on scope of Joint Fuel System Check List

Report form A for analysis results of sample #15170

# Report to:	R.J. Starink 					    		         before September 25, 2015

# email iisnl@sgs.com or faxno. + 31 181 69 45 43

| Determination | unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #15170 | result #15170 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| Acidity, Total | mg KOH/g | D3242 |  |  |  |
| Aromatics by FIA (without oxygenate correction) | %V/V | D1319 |  |  |  |
| Aromatics by HLPC | %M/M | D6379 |  |  |  |
| Aromatics by HLPC | %V/V |  |  |  |  |
| Color Saybolt |  |  |  |  |  |
| - Cell size used? | mm | D6045 |  |
| Color Saybolt (automated) |  | D6045 |  |  |  |
| Color Saybolt (manual) |  | D156 |  |  |  |
| Density at 15°C | kg/m3 | D4052 |  |  |  |
| Distillation | Automated or Manual mode ?: A / M * |
| - Initial Boiling Point | °C | D86 |  |  |  |
| - Temp at 10% recovered | °C | D86 |  |  |  |
| - Temp at 50% recovered | °C | D86 |  |  |  |
| - Temp at 90% recovered | °C | D86 |  |  |  |
| - Final Boiling Point | °C | D86 |  |  |  |
| Existent gum (unwashed) | mg/100mL | D381 |  |  |  |
| Flash Point | ºC | IP170 |  |  |  |
| Freezing Point | °C | D2386 |  |  |  |

*   Please circle the correct option.

** Please see the letter of instructions

INTERLABORATORY STUDY   JET FUEL iis15J02                                                 lab code:

Report form B for analysis results of sample #15170 (continued)

# Based on scope of Joint Fuel System Check List

# Report to:	R.J. Starink 							          before September 25, 2014

# email iisnl@sgs.com or faxno. + 31 181 69 45 43

| Determination | Unit | Reference method (**) | Actual method used (**) | ’unrounded’ result #15170 | result #15170 cfr. used standard |
| --- | --- | --- | --- | --- | --- |
| JFTOT at 260 °C |  |  |  |  |  |
| - Tube rating |  |  |  |  |  |
| - Delta P/Pressure drop | mm Hg |  |  |  |  |
| - Pumped fuel volume | ml |  |  |  |  |
| - Heater tube control temp. | °C |  |  |  |  |
| Kin. Viscosity at -20°C | cSt | D445 |  |  |  |
| Mercaptan Sulphur as S | %M/M | D3227 |  |  |  |
| MSEP |  | D3948 |  |  |  |
| Naphthalenes | Procedure A or B ?: A / B * |
| - Naphthalenes | %V/V | D1840 |  |  |  |
| Smoke Point | Automated or Manual mode ?: A / M * |
| - Smoke Point | mm | D1322 |  |  |  |
| Specific Energy (Net) *** | MJ/kg | D3338 |  |  |  |
| Sulphur | mg/kg | D5453 |  |  |  |

*     Please circle the correct option.

# **   See Instructions

# *** On sulphur free basis