Report form A for late reported test results of sample #17620

Please take care to use the following fixed test conditions as given below in this PT!

| Sample #17620 | 1 Food Spatula |
| --- | --- |
| Simulant | 3% M/V Acetic Acid |
| Exposure time | 4 hours |
| Exposure temperature | 100.0 °C |
| Migration method | Total immersion, repeated use |
| Simulant volume | as per method used (please report volume in additional questions) |

Could you please send us a picture how you did the migration of sample #17620 in practice (spoon in simulant solution).

Sample #17620

| Determination | Unit | Reference method *) | Actual method used *) | Unrounded result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| 1ststep:Total residue after evaporation of all simulant | mg |  |  |  |  |
| 1ststep:Overall Migration (per contact surface) | mg/dm2 | EN1186-3 |  |  |  |
| 1ststep:Overall Migration (per kg food simulant) | mg/kg | EN1186-3 |  |  |  |
| 1st-step:Exposed contact surface area | dm² |  |  |  |  |
| 1st-step:Volume of simulant | mL |  |  |  |  |
| 2ndstep:Total residue after evaporation of all simulant | mg |  |  |  |  |
| 2ndstep:Overall Migration (per contact surface) | mg/dm2 | EN1186-3 |  |  |  |
| 2ndstep:Overall Migration (per kg food simulant) | mg/kg | EN1186-3 |  |  |  |
| 2nd-step:Exposed contact surface area | dm² |  |  |  |  |
| 2nd-step:Volume of simulant | mL |  |  |  |  |
| 3rdstep:Total residue after evaporation of all simulant | mg |  |  |  |  |
| 3rdstep:Overall Migration (per contact surface) | mg/dm2 | EN1186-3 |  |  |  |
| 3rdstep:Overall Migration (per kg food simulant) | mg/kg | EN1186-3 |  |  |  |
| 3rd-step:Exposed contact surface area | dm² |  |  |  |  |
| 3rd-step:Volume of simulant | mL |  |  |  |  |

*) Please see letter of instructions on data entry portal before start of the test (www.kpmd.co.uk/sgs-iis-cts/).

Report form B for late reported test results of sample #17620: Additional Questions

1. Is your laboratory accredited in accordance with ISO/IEC17025 for this test?

a. No

# b. Yes

2. Was the sample cleaned prior to the migration step?

a. No

b. Yes (Please specify what was used):

__________________________________________

3. What was the surface-to-volume ratio (in dm2 / mL)?

Please specify: _________________________________________________________________________

4. What amount of the exposed simulant (in ml) was evaporated after the migration step?

Please specify: _________________________________________________________________________

5. How was the evaporation of the simulant done?

a. Evaporation of simulant in one step (e.g. 1x500ml)

b. Evaporation of simulant in several small volumina (e.g. 10x50ml)

c. By other means (please specify) : ___________________________________________________

6. How long (in minutes) took the evaporation of each simulant solution? ____________________________

7. At which temperature (in °C) was the evaporation of each simulant solution doen? __________________

Remarks on Additional Questions:

______________________________________________________________________________________

______________________________________________________________________________________