Report form for late reported test results

**Please take care to use the following fixed test conditions during this PT!**

|  |  |
| --- | --- |
| Sample size | cut the sample at **width=2cm / length=5cm** (surface area is then 2x5=10cm2) |
| Simulant | deionized water |
| Simulant volume | as per method used |
| Exposure temperature | 20°C |
| Exposure time | 1 hour |
| Rotation speed | 60 r/min |

Please keep the sample packed in a dark, dry and cool place until the start of the test and do not touch with bare hands.

**Sample #23635: one piece of white thermal paper**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Determination | Unit | Referencemethod \*) | Actual method used \*) | ’Unrounded’result \*) | Roundedresult *cfr.* used standard \*) |
| BPA in aqueous migrate | mg/L | EN71-11 |  |  |  |
| Length of test portion | cm |  |  |  |  |
| Width of test portion | cm |  |  |  |  |
| Surface area used for the migration | cm2 |  |  |  |  |
| Volume of simulant used for the migration | mL |  |  |  |  |
| Temperature of simulant | °C |  |  |  |  |
| Rotation speed | r/min |  |  |  |  |
| Time used for the migration | min |  |  |  |  |

\*) Please see the letter of instructions before the start of the tests at [www.kpmd.co.uk/sgs-iis-cts](https://www.kpmd.co.uk/sgs-iis-cts/)

**Please see the next page for the Additional Questions.**

Report form for late reported test results

**Additional Questions**

1. Is your laboratory accredited in accordance with ISO/IEC17025 for this determination?

0 No

0 Yes

2. Remarks on Additional Questions: