Report form A	Report before April 10, 2012

| Component | C.I.-Nr. | CAS-No. | Result #12033 in mg/kg (**) | Result #12034 in mg/kg (**) |
| --- | --- | --- | --- | --- |
| Disperse Blue 1 | 64 500 | 2475-45-8 |  |  |
| Disperse Blue 3 | 61 505 | 2475-46-9 |  |  |
| Disperse Blue 7 | 62 500 | 3179-90-6 |  |  |
| Disperse Blue 26 | 63 305 | 3860-63-7 |  |  |
| Disperse Blue 35 |  | 12222-75-2 |  |  |
| Disperse Blue 102 |  | 12222-97-8 |  |  |
| Disperse Blue 106 |  | 12223-01-7 |  |  |
| Disperse Blue 124 |  | 61951-51-7 |  |  |
| Disperse Brown 1 | 11 152 | 23355-64-8 |  |  |
| Disperse Orange 1 | 11 080 | 2581-69-3 |  |  |
| Disperse Orange 3 | 11 005 | 730-40-5 |  |  |
| Disperse Orange 76 = 37 | 11 132 | 13301-61-6 |  |  |
| Disperse Red 1 | 11 110 | 2872-52-8 |  |  |
| Disperse Red 11 Disperse | 62 015 | 2872-48-2 |  |  |
| Disperse Red 17 | 11 210 | 3179-89-3 |  |  |
| Disperse Yellow 1 | 10 345 | 119-15-3 |  |  |
| Disperse Yellow 3 | 11 855 | 2832-40-8 |  |  |
| Disperse Yellow 9 | 10 375 | 6373-73-5 |  |  |
| Disperse Yellow 39 |  | 12236-29-2 |  |  |
| Disperse Yellow 49 |  | 54824-37-2 |  |  |

# (**) Please see the letter of  instructions.

Name of laboratory:                                                                                Date of sample receipt:

City:                                                                                                        Country:

Name of contact person:                                                                          Date of report:

# Report form B 	                                                              Report before April 10, 2012

# Which analysis method was followed (Name of official method / in house method):

# Short description of the method:

# (how much sample used, extraction and clean-up procedure, other sample pre-treatment):

# How were the dyes detected and quantified (HPLC/UV, GC/MS, TLC, other):

# Remarks:

Name of laboratory:                                                                             Date of sample receipt:

City:                                                                                                     Country:

Name of contact person:                                                                       Date of report:

INSTRUCTIONS TO PARTICIPANTS

- Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 69 4543) or by email (iisnl@sgs.com).

- Record the date that the samples were received also on the report forms (A and B).

- This interlaboratory study concerns 2 different samples of textiles (#12033 and #12034) for determination of dyestuffs classified as allergenic. You receive approx. 2.5 grams of each sample.

- Please treat the samples as if they were routine samples. Do not analyze separate colours! This may be different as your laboratory is used, but for good comparison we ask you to treat each sample as if it is a monocoloured material.

- Report the analytical results using the indicated units on the report form. Do not round the results, but report as much significant figures as possible. Also do not report ‘less than’ results which are above your detection limit. Results reported as ‘less than’ cannot be used for meaningful statistical calculations.

- Please complete the report forms A & B with the requested details of the analysis performed.

- Return the completed report forms A and B to the Institute for Interlaboratory Studies at Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: APRIL 10, 2012 preferably by email, see http://www.iisnl.com to download a report form (word document).

- If you have any remarks/questions please contact:

ing. R.J. Starink,

Institute for Interlaboratory Studies

P.O. box 200,

NL-3200 AE Spijkenisse,

The Netherlands

tel. no. +31 181 69 45 41

fax no. +31 181 69 45 43

email: iisnl@sgs.com