instructions to participants for the Liquefied Propane iis14S03P

*	Please confirm sample receipt as soon as you have received and checked the cylinder on damages or leaking, preferably using the form that you receive together with this cylinder. Please complete the form and return it to iis (email iisnl@sgs.com or faxno. + 31 181 694 543). If the cylinder was visually damaged, please do not accept the cylinder from the courier. Please be noticed that we will only send a replacement cylinder at our cost when there is proof of the cylinder being damaged upon receipt. This means that the consignee must report a damaged cylinder immediately. The consignee should take pictures of how the cylinder looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com

*	The valve on this cylinder is a dual port valve with dip tube. You must connect your DIN 1 fitting to the “Liquid” side of the valve indicated by the arrow, mentioned on the valve.  The hand wheel to operate the valve is already connected to the “Liquid” side of the valve.  The dip tube will only sample liquid if the cylinder is in the upright position (with the valve on the top).  The cylinder is not completely filled with liquefied butane, but does contain approximately 200 grams of liquid with approximately 5 bar helium over pressure. This is sufficient liquid for analysis but please be careful not to use the entire sample for purging your system.

*	The cylinder has a DIN-1 connection. Please notify us immediately in case you are not able to use this connection due to lack of a suitable connector. We will send you a connector DIN-1 to ¼ inch on request.

*	Please record on the sample receipt form before using it for analysis:

- the date that the cylinder was received

- the cylinder number (the 6-digit number on the back of the plasticized label) for example     M123456

- the weight of the cylinder by receipt before opening the valve

*	This interlaboratory study concerns a one Liter cylinder with liquefied Propane (sample #14202).

Each laboratory is requested to analyse the samples in the way it would normally do in day-to-day circumstances.

*	On the report form an extra column is added on request of several participants. This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances another method than the method prescribed in  the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

*	In order to avoid mix-up of test results we have added a box for your laboratory code. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

*	Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: NOVEMBER 7, 2014 (preferably by email).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, the Netherlands

tel.no. +31 181 694541, fax.no. +31 181 69454, e-mail: iisnl@sgs.com