# Instructions to participants for the Base Oil (fresh) Round Robin iis15L02

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to iis (email iisnl@sgs.com or faxno. + 31 181 694543). When the bottle has been broken, please do not accept the package from the courier. Please note that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com.

*	Please record the date that the sample was received on report forms A and B.

*	This interlaboratory study concerns 1 sample of Base Oil (1L bottle, labelled #15055). Please treat the sample as it is a routine sample. Each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical.

*	On the report form an extra column is added on request of several participants. 	This column is named:”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory. So when you normally use in day-to-day circumstances another method than the method prescribed in the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations. For example, when you use D445 for the determination of viscosity and you found a result of 3.14567 mm2/s, we request you to report 3.146 mm2/s in accordance with D445 and 3.1457 mm2/s as ‘unrounded’ result.

*	In order to avoid mix-up of test results we have added a box for your laboratory code. Please understand that it is not mandatory to use, but it will facilitate identification of your test results.

* 	Preferably, please use our entry results website www.kpmd.co.uk/sgs-iis for reporting. In case you do not have internet or are reporting results after the closing date, it is however still possible to use the Word report form (incl. instructions) that was sent to all participants upon the start of the round. This completed Word document can be mailed or faxed to us.

* 	Please report the gradation of rust, when rust test result is fail. (Light, Moderate or Severe Rust).

* 	Please return the completed report forms to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: MAY 15, 2015 (preferably via website reporting).

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 694541

fax.no. +31 181 694543

e-mail: iisnl@sgs.com

website: www.iisnl.com