Instructions to participants for the interlaboratory study on PCBs in Mineral Oil iis15L10

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to iis (email iisnl@sgs.com or faxno. + 31 181 694543). When the vial has been broken, please do not accept the package from the courier. Please note that we will send a replacement vial at our cost when there is proof of the vial being broken upon receipt. This means that the consignee must report a broken vial immediately. The consignee should take pictures of how the package and the vial looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com.

*		This interlaboratory study concerns 1 sample mineral oil positive on PCB (1 * 8 ml vial #15225).  Please treat the sample as if it was a routine sample. Furthermore, each laboratory is advised to perform only those analyses you normally do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical.

*	Please report your test results via www.kpmd.co.uk/sgs-iis/. Login details have been sent to you, but also can be requested via an email to iisnl@sgs.com or can be downloaded from the website www.iisnl.com.

# *	On the report page there is a column, titled “reference method”. In this column the method is mentioned, which will be used for the calculation of the z-scores. It is of utmost importance to know that it is NOT mandatory to use this reference method as test method. When you normally (routinely) use a test method other than the reference method, please select under ”Actual Method Used” the method that you used. When your method is not mentioned under ”Actual Method Used”, please select “Other” and place in the comments the method that you used.

*	Report the analytical results using the indicated units. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations. For example, when you use EN12766 for the determination of PCB and you found a result of 0.1234 mg/kg, we request you to report 0.1 mg/kg in accordance with EN12766 and 0.12 mg/kg as ‘unrounded’ result.

# *	Within a time frame test results can be entered. It is not needed to enter all test results in one session. Within the time frame mentioned on the website you can add (or delete) test results and/or change test results or units.

*	The official closing date for reporting test results for this PT is December 04, 2015.

*	After the official closing date it is no longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis/. However, it is still possible to download the instructions from our internet site www.iisnl.com. In the case you cannot report for unforeseen reasons before the closing date, please send an email to iisnl@sgs.com.

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, the Netherlands

tel.no. +31 181 69 45 41

fax.no. +31 181 69 45 43

e-mail: iisnl@sgs.com

website: www.iisnl.com