Instructions to participants for the interlaboratory study Liquefied Propane iis15S03P

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and fax it to iis (email iisnl@sgs.com or faxno. + 31 181 694543).  If the package was visually damaged, please do not accept the package from the courier. Please note that we will only send replacement cylinder at our cost when there is proof of the cylinder is damaged upon receipt. This means that the consignee must report the damage immediately. The consignee should take pictures of how the package and cylinder looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com.

*		This interlaboratory study concerns 1 sample of Liquefied propane (1 L cylinder #15203) for composition (normalized). Please treat the sample as if it was a routine sample. The cylinder has a DIN-1 connection. Please notify us immediately in case you are not able to use this connection due to lack of a suitable connector. The DIN-1 connection is not included with the sample cylinder.

*	The valve on this cylinder is a dual port valve with dip tube. You must connect your DIN 1 fitting to the “Liquid” side of the valve indicated by the arrow, mentioned on the valve.  The hand wheel to operate the valve is already connected to the “Liquid” side of the valve.  The dip tube will only sample liquid if the cylinder is in the upright position (with the valve on the top).  The cylinder is not completely filled with liquefied propane, but does contain approximately 200 grams of liquid with approximately 5 bar helium over pressure. This is sufficient liquid for analysis but please be careful not to use the entire sample for purging your system.

*	Please report your test results via www.kpmd.co.uk/sgs-iis/. Login details have been sent to you, but also can be requested via an email to iisnl@sgs.com.

# *	On the report page there is a column, titled “reference method”. In this column the method is mentioned, which will be used for the calculation of the z-scores. It is of utmost importance to know that it is NOT mandatory to use this reference method as test method. When you normally (routinely) use a test method other than the reference method, please select under ”Actual Method Used” the method that you used. When your method is not mentioned under ”Actual Method Used”, please select “Other” and place in the comments the method that you used.

*	Please record the cylinder number (the 6-digit (M) number on the back of the plasticized label and on the cylinder) and the weight of the cylinder (by receipt before opening the valve) on the report form.

*	Report the analytical results using the indicated units. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations. 	For example, when you use ASTM D2163 for the determination of Propane and you found a result of 94.1064 %mol/mol, we request you to report 94.11 %mol/mol in accordance with ASTM D2163 and 94.106 or 94.1064 %mol/mol as ‘unrounded’ result.

# *	Within a time frame test results can be entered. It is not needed to enter all test results in one session. Within the time frame mentioned on the website you can add (or delete) test results and/or change test results or units.

*	The official closing date for reporting test results for this PT is November 13, 2015.

*	After the official closing date it is no longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis/. However, it is still possible to download the instructions from our internet site www.iisnl.com. In the case you cannot report for unforeseen reasons before the closing date, please send an email to iisnl@sgs.com.

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, the Netherlands

tel.no. +31 181 69 45 41,  fax.no. +31 181 69 45 43,  e-mail: iisnl@sgs.com

website: www.iisnl.com