Instructions to participants for the interlaboratory study SCCP/MCCP in polymer, total iis16P06

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the sample receipt confirmation form that you received together with this package.

Please complete the form and send it to iis (email iisnl@sgs.com or faxno. + 31 181 694543).

*	This interlaboratory study concerns 2 different samples of polymer (plastic) labelled #16570 and #16571 for the determination of total SCCP (C10-C13 chloroparaffins, CAS No. 85535-84-8) and MCCP  (C14-C17 chloroparaffins, CAS No. 85535-85-9). Please, check the result entry website mentioned below for the test scope. You received approx. 3 grams per sample.

*	Please test the samples as if they were routine samples and analyse them in the way you normally do in day-to-day circumstances.

*	Please report your test results via www.kpmd.co.uk/sgs-iis-cts/. Login details have been sent to you, but also can be requested via an email to iisnl@sgs.com. Please do not forget to save your results.

# *	On the report page there is a column, titled ”Actual Method Used”. Please use the standard method you normally (routinely) use for this determination and select in the column ”Actual Method Used” the method. When your method is not mentioned under ”Actual Method Used”, please select “Other” and place in the comments the method that you used.

*	Please report the analytical results using the indicated units. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one or two extra significant figures) in order to give more meaningful statistical calculations. For example, when you find a result of 545.3157 mg/kg for total SCCP, we request you to report 545.32 mg/kg as ‘unrounded’ result and 545.3 mg/kg as ”rounded” result.

* 	Please enter also the requested test details under ‘Additional Questions’. This will help us in the interpretation of the proficiency test results.

*	Within a time frame of 5 weeks test results can be entered or revised. Within this period you can add (or delete) test results and/or change test results. Please do not forget to save your results.

*	The official closing date for reporting test results for this PT is May 27, 2016.

*	After the official closing date it is not longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis-cts/. However, it is still possible to download the instructions from our internet site www.iisnl.com. In the case that you cannot report for unforeseen reasons before the closing date, please, send an email to iisnl@sgs.com.

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 45 41

fax.no. +31 181 69 45 43

e-mail: iisnl@sgs.com

website: www.iisnl.com