Instructions to participants for the interlaboratory study:

Overall Migration on Food Contact Materials iis16P10GM

*	Please confirm sample receipt as soon as you have received and checked the contents of this package via www.kpmd.co.uk/sgs-iis-cts/. Please give date of receipt and press the ”save date” button.

Please inform the Institute for Interlaboratory Studies (iis) immediately when something is wrong with the package and/or samples via iisnl@sgs.com.

*	This interlaboratory study concerns a black food bowl and a black spatula used in food industry and therefore the overall migration should be limited. Each participating laboratory receives 3 identical food bowls, labelled #16615 and 1 food spatula, labelled #16616 for the determination of the overall migration, also called total migration or global migration. The migration method is for the food bowl by article filling and for the food spatula by total immersion. The food bowl is for single use only and will in practise be disposed of after use. The food spatula is in practise for multi use but for this PT we ask for the first migration step (thus single use option) only. You can check the test scope via www.kpmd.co.uk/sgs-iis-cts/.

*	Please take care to use the following fixed test conditions during this PT.

|  | Sample #16615 | Sample #16616 |
| --- | --- | --- |
| WEBsite | iis16P10GM-Bowl | iis16P10GM-Spatula |
| Material | 3 identical Food Bowls | 1 Food Spatula |
| Simulant | 3% M/V Acetic Acid | 3% M/V Acetic Acid |
| Exposure time | 72 hrs | 2 hrs |
| Exposure temp. | 80.0 °C | 100.0 °C |
| Migration method | Article filling, single use | Total immersion, single use |
| Simulant volume | as per method used (please report volume in additional questions) |

*	Please treat the sample as it was a routine sample and analyse it in the way you normally do in day-to-day circumstances with in mind the conditions mentioned in table above.

*	Reporting of test results

Within a time frame of five weeks test results can be entered or revised. Please report your test results

via www.kpmd.co.uk/sgs-iis-cts/. It is not necessary to enter all test results in one session. Within the time frame you can add (or delete) test results and/or change test results or units. Please do not forget to hit the “Save/Submit” button after entering the test results. It is strongly recommended to login again and to verify if all your test results are present.

# *	On the report page is a column, titled “reference method”. In case a method is mentioned in this column, it will be used for the calculation of the z-scores. It is of utmost importance to know that it is NOT mandatory to use this ‘reference method’ as test method. When you normally (routinely) use a test method other than the reference method, please select the method that you used under ”Actual Method Used”. When your method is not mentioned under ”Actual Method Used”, please select “Other” and write the method that you used in the comments.

*	Please report the analytical results using the indicated units. It is possible to report in the last column the analytical results rounded in accordance with the standard method that was used and in the first result column the same analytical results but less rounded. Please note that it is not mandatory to report both ‘rounded’ and ‘unrounded’ test results. The ‘unrounded’ test results are preferably used for our statistical evaluations. However the ‘rounded’ test results will be used in case the ‘unrounded’ test results are not reported. We suggest to report one extra significant figure in order to give more meaningful statistical calculations. For example, when you use EN1186-9 for the determination of Overall Migration and you found a result of 20.934 mg/dm2, we request you to report 20.9 mg/dm2 in accordance with EN1186 and 20.93 mg/dm2 as ‘unrounded’ result, but reporting 20.934 mg/dm2 will also be OK.

* 	Please enter also the requested test details under ‘Additional Questions’. This might help us in the evaluation of the test results.

*	The official closing date for reporting test results for this PT is October 14, 2016.

*	After the official closing date it is no longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis-cts/. When you cannot report via the website or for unforeseen reasons cannot report before the closing date, please inform the Institute for Interlaboratory Studies (iis).

*	For all communication (e.g. problems with the package/samples, login details for the data entry portal, not reporting in time) or any remarks/questions please contact:

ing. R.J. Starink / Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 45 41/ fax.no. +31 181 69 45 43 / 	e-mail: iisnl@sgs.com / website: www.iisnl.com