INTERLABORATORY STUDY  	METHANOL iis12C06UV                     	2012

# Report form for analysis results of sample #12091

- Report to: ing. R.J. Starink 							before September 21, 2012

- fax. + 31 181 69 45 43 or email iisnl@sgs.com

| Determination | Reference Method (*) | Actual method used (*) | Unrounded result #12091 | result #12091 rounded cfr. used method |
| --- | --- | --- | --- | --- |
| UV Absorbance |  |  |  |  |
| CUVETTE USED |  | 10 mm | or ........... |  |
| * at 300 nm | IMPCA004 |  |  |  |
| * at 268.5 nm | IMPCA004 |  |  |  |
| * at 250 nm | IMPCA004 |  |  |  |
| * at 240 nm |  |  |  |  |
| * at 230 nm |  |  |  |  |
| * at 220 nm | IMPCA004 |  |  |  |
| * UV curve (smooth or not) | IMPCA004 |  | XXXX |  |
| Does the sample:** | #) PASS or FAIL |  |  |  |

*) See letter of instructions

#) Please circle the correct option

Name of laboratory:	Date of sample receipt:

Country:	City:

Name of contact person:	Date of report:

- Instructions to participants for the Methanol Round Robin iis12C06UV

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the fax form that you receive together with this package. Please complete the form and send it to i.i.s. (faxno. ++ 31 181 694543 or email iisnl@sgs.com). When the bottles have been broken, please do not accept the package from the courier. Please be noticed that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com.

*	Please record the date that the sample was received on report form.

*	This interlaboratory study concerns 1 sample methanol (100 mL amber glass bottle, labeled #12091). Please treat the sample as if it was a routine sample.

*	Each laboratory is requested to analyse the sample in the way it would normally do in day-to-day circumstances.

*	On the report form an extra column is added on request of several participants.

This column is named: ”reference method”. In this column the method is mentioned, which the Institute for Interlaboratory Studies will use for calculating the z-scores. It is of utmost importance to know that the method, which is mentioned, is NOT mandatory.

So when you normally use in day-to-day circumstances an other method than the method prescribed in  the ”reference method” column, please use your method and note the actual used method in the ”actual method used” column.

*	Report the analytical results using the indicated units on the report form. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations.

For example, when you use IMPCA004 for the determination of  UV at 220 nm and you found a result of 0.2136, we request you to report 0.21 in accordance with IMPCA004 and 0.214 as ‘unrounded’ result.

- Please report the method used on the report form. If no Standard method is used, report the official standard method on which it is based with the remark 'mod' (modified).

*	Please return the completed report form to the Institute for Interlaboratory Studies in Spijkenisse, The Netherlands, preferably one week after sample receipt, but in any case before the indicated closing date: SEPTEMBER 21, 2012 (preferably by e-mail to iisnl@sgs.com).

*	If you have any remarks/questions please contact:

ing. R.J.Starink,  Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 694541    /    fax.no. +31 181 694543

e-mail: iisnl@sgs.com