Report form for late reported test results of sample #16262

| Determination | unit | Reference method 1) | Actual method used 1) | Unrounded result 1) | Rounded result cfr. used standard 1) |
| --- | --- | --- | --- | --- | --- |
| Density at 20°C | kg/L | ISO12185 |  |  |  |
| Nonvolatile matter | mg/100ml | D1353 |  |  |  |
| Permanganate time test at 20°C | min | D1363 |  |  |  |
| pHe | Type electrode used: LiCl electrode / KCl electrode 2) |  |  |  |  |
| pHe |  | D6423 |  |  |  |
| Strength | %M/M | Table OIML |  |  |  |
| Strength | %V/V | Table OIML |  |  |  |
| Water (titrimetric) | %M/M | D1364 |  |  |  |
| Purity of Ethanol on dry basis | %M/M |  |  |  |  |
| Acetal | mg/kg |  |  |  |  |
| Acetaldehyde | mg/kg |  |  |  |  |
| Acetone | mg/kg |  |  |  |  |
| Benzene | mg/kg |  |  |  |  |
| Isopropanol | mg/kg |  |  |  |  |
| Methanol | mg/kg |  |  |  |  |
| Monoethylene glycol | mg/kg |  |  |  |  |
| Total impurities | mg/kg |  |  |  |  |
| UV - CUVETTE USED | 10mm or 50 mm or ........... 2) |  |  |  |  |
| UV Absorbance at 300 nm |  |  |  |  |  |
| UV Absorbance at 270 nm |  |  |  |  |  |
| UV Absorbance at 260 nm |  |  |  |  |  |
| UV Absorbance at 250 nm |  |  |  |  |  |
| UV Absorbance at 240 nm |  |  |  |  |  |
| UV Absorbance at 230 nm |  |  |  |  |  |
| UV Absorbance at 220 nm |  |  |  |  |  |
| - Evaluation of the UV-scan: | PASS or FAIL 2) |  |  |  |  |

- 1) Please see the letter of instructions on data entry portal before start of the tests (www.kpmd.co.uk/sgs-iis/)

2) Please circle the correct option