Report form A for late reported test results of sample #16190

| Determination | unit | Reference method *) | Actual method used *) | unroundedresult *) | rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acid Value | mg KOH/g | EN14104 |  |  |  |
| Acid Number (total) | mg KOH/g | D664-B |  |  |  |
| Cloud Point | °C | EN23015 |  |  |  |
| Cold Filter Plugging Point (CFPP) | °C | EN116 |  |  |  |
| Carbon Residue on 100% sample | %M/M | ISO10370 |  |  |  |
| Copper Strip Corrosion 3h/50°C | rating |  |  |  |  |
| Density at 15°C | kg/m3 | ISO12185 |  |  |  |
| Flash Point, PMcc | °C | ISO2719 |  |  |  |
| Flash Point, recc | °C | ISO3679 |  |  |  |
| Iodine Value | g I2/100g | EN14111 |  |  |  |
| Kinematic Viscosity at 40°C | mm2/s | ISO3104 |  |  |  |
| Oxidation Stability | hours | EN14112 |  |  |  |
| Pour Point | °C | ISO3016 |  |  |  |
| Sulphated Ash | %M/M | ISO3987 |  |  |  |
| Sulphur | mg/kg | ISO20846 |  |  |  |
| Water content by KF | mg/kg | ISO12937 |  |  |  |
| Heating values |  |  |  |  |  |
| - Calorific Value Gross at constant volume (H o,v) | kJ/kg | DIN51900 |  |  |  |
| - Calorific Value Net at constant volume (H u,v) | kJ/kg |  |  |  |  |
| - Calorific Value Net at constant pressure (H u,p) | kJ/kg |  |  |  |  |

- *) Please see the letter of instructions on data entry portal before start of the tests (www.kpmd.co.uk/sgs-iis/)

Report form B for late reported test results of sample #16190

| Determination | unit | Reference method *) | Actual method used *) | unroundedresult *) | rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Methanol | %M/M | EN14110 |  |  |  |
| Monoglycerides | %M/M | EN14105 |  |  |  |
| Diglycerides | %M/M | EN14105 |  |  |  |
| Triglycerides | %M/M | EN14105 |  |  |  |
| Free Glycerol | %M/M | EN14105 |  |  |  |
| Total Glycerol | %M/M | EN14105 |  |  |  |
| # Total Ester Content (FAME) | %M/M | EN14103 |  |  |  |
| Linolenic Acid Methyl Ester | %M/M | EN14103 |  |  |  |
| Polyunsaturated (more or 4 double bonds) Methyl Esters | %M/M | EN15779 |  |  |  |

- *) Please see the letter of instructions on data entry portal before start of the tests (www.kpmd.co.uk/sgs-iis/)

Report form C for late reported test results of EXTRA sample #16194

| Determination | unit | Reference method *) | Actual method used *) | unroundedresult *) | rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Monoglycerides | %M/M | EN14105 |  |  |  |
| Diglycerides | %M/M | EN14105 |  |  |  |
| Triglycerides | %M/M | EN14105 |  |  |  |
| Free Glycerol | %M/M | EN14105 |  |  |  |
| Total Glycerol | %M/M | EN14105 |  |  |  |

- *) Please see the letter of instructions on data entry portal before start of the tests (www.kpmd.co.uk/sgs-iis/)