Report form for late reported test results of sample #16251

| Determination | unit | Reference method *) | Actual method used *) | Unrounded result *) | Rounded result cfr. Used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acidity, Total (Potentiometric) | g KOH/kg | EN62021-1 |  |  |  |
| Acidity, Total (Colorimetric) | g KOH/kg | D974 |  |  |  |
| Breakdown Voltage | kV/2.5mm | EN60156 |  |  |  |
| Density at 20°C | kg/m3 | ISO3675 |  |  |  |
| Di-electric dissipation Factor (DDF)at 90°C |  | EN60247 |  |  |  |
| Specific Resistance at 90°C | GΩm | EN60247 |  |  |  |
| Flash Point COC | °C | D92 |  |  |  |
| Flash Point PMcc | °C | ISO2719 |  |  |  |
| Interfacial surface tension | mN/m | ISO6295 |  |  |  |
| Kinematic Viscosity at 40°C | mm2/s | ISO3104 |  |  |  |
| Water | mg/kg | EN60814 |  |  |  |

- *) Please see the letter of instructions on data entry portal before start of the tests (www.kpmd.co.uk/sgs-iis/)