Report form A for late reported test results of sample #16615

Please take care to use the following fixed test conditions as given below in this PT!

| Sample #16615 | 3 identical Food Bowls |
| --- | --- |
| Simulant | 3% M/V Acetic Acid |
| Exposure time | 72 hrs |
| Exposure temperature | 80.0 °C |
| Migration method | Article filling, single use |
| Simulant volume | as per method used (please report volume in additional questions) |

Sample #16615

| Determination | Unit | Reference method *) | Actual method used *) | Unrounded result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Total residue after evaporation of all simulant | mg |  |  |  |  |
| Overall Migration (per contact surface) | mg/dm2 | EN1186-9 |  |  |  |
| Overall Migration (per kg food simulant) | mg/kg | EN1186-9 |  |  |  |
| Overall Migration (per liter food simulant) | mg/L |  |  |  |  |

*) Please see letter of instructions on data entry portal before start of the tests (www.kpmd.co.uk/sgs-iis-cts/).

Report form B for late reported test results of sample #16616

Please take care to use the following fixed test conditions as given below in this PT!

| Sample #16616 | 1 Food Spatula |
| --- | --- |
| Simulant | 3% M/V Acetic Acid |
| Exposure time | 2 hrs |
| Exposure temperature | 100.0 °C |
| Migration method | Total immersion, single use |
| Simulant volume | as per method used (please report volume in additional questions) |

Sample #16616

| Determination | Unit | Reference method *) | Actual method used *) | Unrounded result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Total residue after evaporation of all simulant | mg |  |  |  |  |
| Overall Migration (per contact surface) | mg/dm2 | EN1186-3 |  |  |  |
| Overall Migration (per kg food simulant) | mg/kg | EN1186-3 |  |  |  |
| Overall Migration (per liter food simulant) | mg/L |  |  |  |  |

*) Please see letter of instructions on data entry portal before start of the tests (www.kpmd.co.uk/sgs-iis-cts/).

Report form C for late reported test results of sample #16615

Additional Questions:

1. Was the sample cleaned prior to the migration step?

a. No

b. Yes (Please specify what was used): __________________________________________

2. What exposed contact surface area of the specimen was used (in dm2)?

Please specify: _________________________________________________________________

3. What volume of simulant (in ml) was used in the migration step?

Please specify: _________________________________________________________________

4. What amount of the exposed simulant (in ml) was evaporated after the migration step?

Please specify: _________________________________________________________________

5. How was the evaporation of the simulant done?

a. Evaporation of simulant in one step (e.g. 1x500ml)

b. Evaporation of simulant in several small volumina (e.g. 10x50ml)

c. By other means (please specify) : ___________________________________________

Remarks on Additional Questions:

______________________________________________________________________________

______________________________________________________________________________

Report form D for late reported test results of sample #16616

Additional Questions:

1. Was the sample cleaned prior to the migration step?

a. No

b. Yes (Please specify what was used): __________________________________________

2. What exposed contact surface area of the specimen was used (in dm2)?

Please specify: _________________________________________________________________

3. What volume of simulant (in ml) was used in the migration step?

Please specify: _________________________________________________________________

4. What amount of the exposed simulant (in ml) was evaporated after the migration step?

Please specify: _________________________________________________________________

5. How was the evaporation of the simulant done?

a. Evaporation of simulant in one step (e.g. 1x500ml)

b. Evaporation of simulant in several small volumina (e.g. 10x50ml)

c. By other means (please specify) : ___________________________________________

Remarks on Additional Questions:

______________________________________________________________________________

______________________________________________________________________________