Please take care to use the following fixed test conditions as given below

| Sample | One polypropylene plate containing some heavy metals |
| --- | --- |
| Simulant | 3% M/V Acetic Acid |
| Exposure time | 2 hrs. |
| Exposure temperature | 100.0°C |
| Migration method | Total immersion |
| Article use | Single use |
| Simulant volume | as per method used (please report volume in additional questions) |

Report form A for late reported test results

Sample #16620

| Determinations | Unit | Reference method *) | Actual method used *) | Unroundedresult *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Final concentration in mg/L in simulant |  |  |  |  |  |
| - Barium as Ba | mg/L |  |  |  |  |
| - Cobalt as Co | mg/L |  |  |  |  |
| - Copper as Cu | mg/L |  |  |  |  |
| - Iron as Fe | mg/L |  |  |  |  |
| - Lithium as Li | mg/L |  |  |  |  |
| - Manganese as Mn | mg/L |  |  |  |  |
| - Zinc as Zn | mg/L |  |  |  |  |
| Specific Migration in mg/dm2 per contact surface |  |  |  |  |  |
| - Barium as Ba | mg/dm2 |  |  |  |  |
| - Cobalt as Co | mg/dm2 |  |  |  |  |
| - Copper as Cu | mg/dm2 |  |  |  |  |
| - Iron as Fe | mg/dm2 |  |  |  |  |
| - Lithium as Li | mg/dm2 |  |  |  |  |
| - Manganese as Mn | mg/dm2 |  |  |  |  |
| - Zinc as Zn | mg/dm2 |  |  |  |  |

Report form B for late reported test results – Continued from form A

Sample #16620

| Determinations | Unit | Reference method *) | Actual method used *) | Unroundedresult *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Specific Migration in mg/kg food simulant |  |  |  |  |  |
| - Barium as Ba | mg/kg |  |  |  |  |
| - Cobalt as Co | mg/kg |  |  |  |  |
| - Copper as Cu | mg/kg |  |  |  |  |
| - Iron as Fe | mg/kg |  |  |  |  |
| - Lithium as Li | mg/kg |  |  |  |  |
| - Manganese as Mn | mg/kg |  |  |  |  |
| - Zinc as Zn | mg/kg |  |  |  |  |
| Specific Migration in mg/L food simulant |  |  |  |  |  |
| - Barium as Ba | mg/L |  |  |  |  |
| - Cobalt as Co | mg/L |  |  |  |  |
| - Copper as Cu | mg/L |  |  |  |  |
| - Iron as Fe | mg/L |  |  |  |  |
| - Lithium as Li | mg/L |  |  |  |  |
| - Manganese as Mn | mg/L |  |  |  |  |
| - Zinc as Zn | mg/L |  |  |  |  |

*) Please see letter of instructions on data entry portal before start of the tests (www.kpmd.co.uk/sgs-iis-cts/).

Report form C for late reported test results - Additional Questions

1. Which test method was followed to release the metals from the polymer matrix?

Please specify the name of official method / in house method: ____________________________

2. Which test method was followed for the quantification of the released metals in the solution?

Please specify the name of official method / in house method: ____________________________

3. Was the sample cleaned prior to the migration step?

a. No

b. Yes (Please specify what was used): _________________________________________

4. What exposed contact surface area of the specimen was used (in dm2) in the migration step?

Please specify: _________________________________________________________________

5. What exposed contact surface area of the specimen was used (in dm2) in the calculation?

Please specify: _________________________________________________________________

6. Was the specimen used as single surface or double surface?

a. Single surface

b. Double surface

7. Was the thickness of the sample also used in the surface calculation?

a. No

b. Yes

8. What volume of simulant was used (in ml) during the migration step?

Please specify: _________________________________________________________________

8. Was the simulant preheated before use?

a. No

b. Yes

Remarks on Additional Questions: __________________________________________________

______________________________________________________________________________