Please note that the sample is grinded and packed in vacuum.

Please, do not age, nor dry the sample before the test, nor determine volatile matter!

Report form A for late reported test results of sample #18545

|  | Unit | reference test method **) | Actual method used **) | 'Unrounded' test result **) | Rounded test result cfr. used standard **) |
| --- | --- | --- | --- | --- | --- |
| Chromium (VI) (colorimetric) | mg/kg *) | ISO17075-1 |  |  |  |
| Chromium (VI) (chromatographic) | mg/kg *) | ISO17075-2 |  |  |  |

- *) Please calculate and report the result based on the leather as received (not on dry matter!)

- **) Please, read the letter of instructions before the start of the analysis (www.kpmd.co.uk/sgs-iis-cts/)

- Report form B for Analytical Details ***)

- Is your laboratory accredited in accordance with ISO/IEC17025 to determine the reported component(s)?

- 0  	No

- 0    	Yes

- What sample intake was used (in grams)?

- What was the time period in minutes between grinding/cutting the sample and extraction of the sample?

- _________________________________________________________________________________

- 4.a What was the extraction time (minutes)?

- __________________________________________________________________________________

- 4b. What was the extraction temperature (°C)?

- __________________________________________________________________________________

- 5. What was the pH of the extraction solution before and after extraction?

- 5a. Before the extraction the pH of the extraction solution was:	_______________

- 5b. After the extraction the pH of the extraction solution was:	_______________

6a. What type of shaker was used ?

- __________________________________________________________________________________

6b. What was the frequency of the shaker?

- __________________________________________________________________________________

Additional Remarks:

______________________________________________________________________________

***) Please, complete these questions as much as possible. It can help us to evaluate the results of the proficiency test. Thank you in advance.