Report form A for late reported test results of sample #18010

| Determination | Unit | Reference method *) | Actual method used *) | 'unrounded' test result *) | rounded test result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| API Gravity |  | D4052 |  |  |  |
| Aromatics by FIA 2) | %V/V | D1319 |  |  |  |
| Benzene | %V/V | D3606 |  |  |  |
| Copper corrosion 3 hrs at 50°C | rating |  |  |  |  |
| Silver corrosion 3 hrs at 50°C | procedure A or B 1) |  |  |  |  |
| Silver corrosion 3 hrs at 50°C | rating |  |  |  |  |
| Density at 15°C | kg/m3 | D4052 |  |  |  |
| Distillation at 760 mmHg | Manual or Automated M / A 1) |  |  |  |  |
| - Initial Boiling Point | °C | D86 |  |  |  |
| - Temp at 10% evaporated | °C | D86 |  |  |  |
| - Temp at 50% evaporated | °C | D86 |  |  |  |
| - Temp at 90% evaporated | °C | D86 |  |  |  |
| - Final Boiling Point | °C | D86 |  |  |  |
| Doctor test | --- |  |  |  |  |
| Existent Gum (solvent washed) | mg/100ml | D381 |  |  |  |
| Lead as Pb | mg/L | D3237 |  |  |  |
| Manganese as Mn | mg/L | D3831 |  |  |  |
| Olefins by FIA 2) | %V/V | D1319 |  |  |  |

*) Please see the letter of instructions on data entry portal before start of the tests (www.kpmd.co.uk/sgs-iis/

1) Please circle the right option

2) Without oxygenates correction

Report form B for late reported test results of sample #18010

| Determination | unit | Reference method *) | Actual method used *) | Unrounded result *) | rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Oxidation Stability 3) | minutes | D525 |  |  |  |
| Oxygenates |  |  |  |  |  |
| - DIPE | %V/V | D4815 |  |  |  |
| - ETBE | %V/V | D4815 |  |  |  |
| - Ethanol | %V/V | D4815 |  |  |  |
| - Methanol | %V/V | D4815 |  |  |  |
| - MTBE | %V/V | D4815 |  |  |  |
| - TAME | %V/V | D4815 |  |  |  |
| - Other Oxygenates | %V/V |  |  |  |  |
| Oxygen content | %M/M | D4815 |  |  |  |
| Phosphorus as P | mg/L | D3231 |  |  |  |
| Sulphur | mg/kg | D5453 |  |  |  |

- *) Please see the letter of instructions on data entry portal before start of the tests (www.kpmd.co.uk/sgs-iis/)

3) Only report ”>900” when above 900 minutes, otherwise report a real breakpoint