Report form for late reported test results of sample #18083

| Determination | unit | Reference method *) | Actual method used *) | ’unrounded’ result *) | ’rounded’ result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acidity, Total as acetic acid | %M/M | EN15491 |  |  |  |
| Chloride, Inorganic | mg/kg | EN15492 |  |  |  |
| Copper strip 3hrs at 50°C | rating |  |  |  |  |
| Copper as Cu | mg/kg | EN15488 |  |  |  |
| Density at 15°C | kg/m3 | ISO12185 |  |  |  |
| Electrical Conductivity at 25°C | μS/cm | EN15938 |  |  |  |
| Existent gum (solvent washed) | mg/100ml | ISO6246 |  |  |  |
| Oxidation Stability **) | minutes | ISO7536 |  |  |  |
| Oxygenates |  |  |  |  |  |
| - Methanol | %V/V | EN1601 |  |  |  |
| - Ethanol and higher saturated alcohols | %V/V | EN1601 |  |  |  |
| - Ethers (C5 or more C atoms) | %V/V | EN1601 |  |  |  |
| - Higher saturated (C3-C5) monoalcohols | %V/V | EN1601 |  |  |  |
| - Oxygen, total organically bound | %M/M | EN1601 |  |  |  |
| pHe | Type electrode used: LiCl electrode / KCl electrode ***) |  |  |  |  |
| pHe |  | EN15490 |  |  |  |
| Phosphorus as P | mg/L | EN15487 |  |  |  |
| Sulphate | mg/kg | EN15492 |  |  |  |
| Sulphur | mg/kg | EN15486 |  |  |  |
| Water, coulometric | %M/M | EN15489 |  |  |  |

*) 	 Please, see letter of instructions before start of the tests

**) 	Only report ”>900” when above 900 minutes, otherwise report a real breakpoint

***)	Please, circle the right option.