Report form A for late reported test results of sample #18036

| Determination | unit | Reference method *) | Actual method used *) | ’unrounded’ Result *) | ’rounded’ result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acid Number (total) | mg KOH/g | D664-A |  |  |  |
| Density at 15°C | kg/m3 | D4052 |  |  |  |
| - Flash Point PMcc | °C | D93 |  |  |  |
| Kinematic Viscosity at 40°C | mm2/s | D445 |  |  |  |
| Kinematic Viscosity at 100°C | mm2/s | D445 |  |  |  |
| Viscosity Index |  | D2270 |  |  |  |
| Membrane Filtration 5µm | %M/M | D4055 |  |  |  |
| Water content by KF | mg/kg | D6304 |  |  |  |
| Level of Contamination Measurement |  |  |  |  |  |
| particle size ≥ 4 μm (c) | counts/ml | D7647 |  |  |  |
| particle size ≥ 6 μm (c) | counts/ml | D7647 |  |  |  |
| particle size ≥ 14 μm (c) | counts/ml | D7647 |  |  |  |
| Level of Contamination acc. to ISO4406 scale |  |  |  |  |  |
| particle size ≥ 4 μm (c) | scale number | D7647 |  |  |  |
| particle size ≥ 6 μm (c) | scale number | D7647 |  |  |  |
| particle size ≥ 14 μm (c) | scale number | D7647 |  |  |  |

*)  Please see the letter of instructions at www.kpmd.co.uk/sgs-iis/

Additional Questions about Acid Number (ASTM D664):

What was the volume of the titration solvent:

- 60 mL

- 125 mL

How was the acid number determined:

- Inflection Point

- Buffer End Point (pH 11)

Report form A (continued) for late reported test results of sample #18036

Additional Questions about Level of Contamination:

Was the sample rolled before testing: Yes / No

Was the sample diluted:  Yes / No

If diluted, what was the dilution ratio: ________________

What is the manufacturer and the model of your test equipment?

__________________________________________________

Report form B for late reported test results of sample #18037

| Determination | unit | Reference method *) | Actual method used *) | ’unrounded’ Result *) | ’rounded’ result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Elemental Analysis: |  |  |  |  |  |
| Aluminium as Al | mg/kg | D5185 |  |  |  |
| Antimony as Sb | mg/kg | D5185 |  |  |  |
| Barium as Ba | mg/kg | D5185 |  |  |  |
| Boron as B | mg/kg | D5185 |  |  |  |
| Cadmium as Cd | mg/kg |  |  |  |  |
| Chromium as Cr | mg/kg | D5185 |  |  |  |
| Copper as Cu | mg/kg | D5185 |  |  |  |
| Iron as Fe | mg/kg | D5185 |  |  |  |
| Lead as Pb | mg/kg | D5185 |  |  |  |
| Lithium as Li | mg/kg |  |  |  |  |
| Magnesium as Mg | mg/kg | D5185 |  |  |  |
| Manganese as Mn | mg/kg | D5185 |  |  |  |
| Molybdenum as Mo | mg/kg | D5185 |  |  |  |
| Nickel as Ni | mg/kg | D5185 |  |  |  |
| Potassium as K | mg/kg | D5185 |  |  |  |
| Silicon as Si | mg/kg | D5185 |  |  |  |
| Silver as Ag | mg/kg | D5185 |  |  |  |
| Sodium as Na | mg/kg | D5185 |  |  |  |
| Tin as Sn | mg/kg | D5185 |  |  |  |
| Titanium as Ti | mg/kg | D5185 |  |  |  |
| Vanadium as V | mg/kg | D5185 |  |  |  |
| Calcium as Ca | mg/kg | D5185 |  |  |  |
| Phosphorus as P | mg/kg | D5185 |  |  |  |
| Zinc as Zn | mg/kg | D5185 |  |  |  |

*)  Please see the letter of instructions at www.kpmd.co.uk/sgs-iis/