Report form A for late reported test results of sample #18077

| Determination | unit | Reference method *) | Actual method used *) | ’unrounded’ result *) | ’rounded’ result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acid Number (total) | mg KOH/g | D664-A |  |  |  |
| Color ASTM |  | D1500 |  |  |  |
| Density at 15°C | kg/m3 | D1298 |  |  |  |
| Flash Point C.O.C. | °C | D92 |  |  |  |
| Flash Point PMcc | Procedure used: procedure A / procedure B **) |  |  |  |  |
| Flash Point PMcc | °C | D93 |  |  |  |
| Insoluble Color Bodies, membrane patch colorimetry |  | D7843 |  |  |  |
| Kinematic viscosity at 40°C | mm2/s | D445 |  |  |  |
| Kinematic viscosity at 100°C | mm2/s | D445 |  |  |  |
| Viscosity index |  | D2270 |  |  |  |
| Oxidation Stability RPVOT | minutes | D2272 |  |  |  |
| Water content by KF | Procedure used: procedure A / procedure B / procedure C **) |  |  |  |  |
| Water content by KF | mg/kg | D6304 |  |  |  |

*)	Please, see the letter of instructions before start at of the tests via www.kpmd.co.uk/sgs-iis/

**)	Please, circle the right option

Report form B for late reported test results of sample #18077

| Determination |  | unit | Reference method *) |  | Actual method used *) | ’unrounded’ result *) | ’rounded’ result cfr. used standard*) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Water separability at 54°C |  | Distilled water |  |  |  |  |  |
| - Time to reach 3 ml or less emulsion |  | min | D1401 |  |  |  |  |
| - Time to reach 37 ml of water |  | min | D1401 |  |  |  |  |
| - Time to reach complete break (40-40-0) |  | min |  |  |  |  |  |
| - Test aborted |  | NO / YES **) |  |  |  |  |  |
| - Time test aborted |  | min |  |  |  |  |  |
| - Volume Oil phase |  | ml ml |  |  |  |  |  |
| - Volume Water phase |  | ml |  |  |  |  |  |
| - Volume Emulsion phase |  | ml |  |  |  |  |  |
| Demulsibility Characteristics |  | Steam |  |  |  |  |  |
| - Time to reach 20 ml of oil within 20 minutes |  | s | IP19 |  |  |  |  |
| - Volume Oil after 20 minutes |  | Ml | IP19 |  |  |  |  |
| Water separation ability |  | Steam |  |  |  |  |  |
| - Time to reach the 55 mm measuring point (Oil-water phase) |  | s | DIN51589 |  |  |  |  |
| Level of Contamination Measurement |  |  |  |  |  |  |  |
| particle size ≥ 4 μm (c) | counts/ml |  |  | D7647 |  |  |  |
| particle size ≥ 6 μm (c) | counts/ml |  |  | D7647 |  |  |  |
| particle size ≥ 14 μm (c) | counts/ml |  |  | D7647 |  |  |  |
| Level of Contamination acc. to ISO4406 scale |  |  |  |  |  |  |  |
| particle size ≥ 4 μm (c) | scale number |  |  | D7647 |  |  |  |
| particle size ≥ 6 μm (c) | scale number |  |  | D7647 |  |  |  |
| particle size ≥ 14 μm (c) | scale number |  |  | D7647 |  |  |  |

*)	Please, see the letter of instructions before start at of the tests via www.kpmd.co.uk/sgs-iis/

**)	Please, circle the right option

Report form C for late reported test results of sample #18077

Additional Questions about Acid Number (ASTM D664):

What was the volume of the titration solvent:

- 60 mL

- 125 mL

How was the endpoint determined:

- Inflection Point

- Buffer End Point (pH 11)