Please know that all samples are non-coated and should be tested without pretreatment in a procedure like for example EN1811:2011+AC:2012.

Report form A for Sample #18575

| Results | Unit | Reference test method *) | Actual test method used *) | Unrounded Result *) | Rounded Result *) |
| --- | --- | --- | --- | --- | --- |
| Nickel Release | µg/cm2/week | EN1811 |  |  |  |
| Average volume added to one piece of metal | ml |  |  |  |  |
| Average surface of one piece of metal used for the calculation | cm2 |  |  |  |  |
| How many pieces of metal used for the Nickel Release Determination |  |  |  |  |  |

- *) Please, see the letter of instructions before start of the analysis (www.kpmd.co.uk/sgs-iis-cts/)

- Report form B for sample #18575: ANALYTICAL DETAILS

Please complete this sheet as much as possible, it can help to draw conclusions during the evaluation

- Did you pretreat the test vessel ?

- ○ No, I never pre-treat the test vessel

- ○ Yes, I cleaned the test vessel after the previous Ni-release determination

- If yes, with solution: ______________________________ for ________________________ hours.

- Which ratio in ml/cm² was used for the start solution versus the sample surface? __________

- Any remarks?

____________________________________________________________________________

____________________________________________________________________________

Report form C for Sample #18576: Surface Determination only

| Details | Unit | #18576 |
| --- | --- | --- |
| Total sample surface | cm2 |  |

Please, describe as detailled as possible how did you measure and calculate the surface of the earring; sample #18576?

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

- Any remarks?

____________________________________________________________________________

____________________________________________________________________________