Report form A for late reported test results of sample #19205

| Determination | Unit | Reference method *) | Actual method used *) | ’Unrounded’ result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acidity as Acetic Acid | mg/kg | E2679 |  |  |  |
| Acidity as Acetic Acid | mg/kg | D1613 |  |  |  |
| Aldehydes as Acetaldehyde | mg/kg | E2313 |  |  |  |
| Appearance |  |  |  |  |  |
| Ash content | %M/M | D482 |  |  |  |
| Chloride, Inorganic as Cl | mg/kg | E2469 |  |  |  |
| Color Pt/Co |  | D1209 |  |  |  |
| Color Pt/Co |  | D5386 |  |  |  |
| Density at 20°C | kg/L | ISO12185 |  |  |  |
| Diethylene Glycol content | mg/kg | E2409 |  |  |  |
| Distillation Mode | Automated / Manual **) |  |  |  |  |
| - Initial Boiling Point | °C | D1078 |  |  |  |
| - 50% recovered | °C | D1078 |  |  |  |
| - Dry Point | °C | D1078 |  |  |  |
| Miscibility with water (Hydrocarbons) |  | D1722 |  |  |  |
| Purity by GC as received | %M/M |  |  |  |  |
| Specific Gravity 20/20°C |  | E202 |  |  |  |
| Water | mg/kg | E1064 |  |  |  |

*)	Please see the letter of instructions before start of the tests at www.kpmd.co.uk/sgs-iis/

**)	Please circle the right option

Report form B for late reported test results of sample #19206

Nitrogen sparging of the sample (Option A of ASTM E2193)

| Determination | Unit | Reference method *) | Actual method used *) | ’Unrounded’ result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| UV Cuvette size **) | mm |  |  |  |  |
| UV transmittance at 350 nm | %T | E2193 |  |  |  |
| UV transmittance at 275 nm | %T | E2193 |  |  |  |
| UV transmittance at 250 nm | %T | E2193 |  |  |  |
| UV transmittance at 220 nm | %T | E2193 |  |  |  |

*)	Please see the letter of instructions before start of the tests at www.kpmd.co.uk/sgs-iis/

**)	In case you have the option to use by routine in your daily samples both cuvette sizes (10mm as well as 50mm), please preferably report the test result of the 50mm cuvette size

- No nitrogen sparging (Option B of ASTM E2193)

| Determination | Unit | Reference method *) | Actual method used *) | ’Unrounded’ result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| UV Cuvette size **) | mm |  |  |  |  |
| UV transmittance at 350 nm | %T | E2193 |  |  |  |
| UV transmittance at 275 nm | %T | E2193 |  |  |  |
| UV transmittance at 250 nm | %T | E2193 |  |  |  |
| UV transmittance at 220 nm | %T | E2193 |  |  |  |

*)	Please see the letter of instructions before start of the tests at www.kpmd.co.uk/sgs-iis/

**)	In case you have the option to use by routine in your daily samples both cuvette sizes (10mm as well as 50mm), please preferably report the test result of the 50mm cuvette size

Report form C for late reported test results of sample #19207

Iron determination only

| Determination | Unit | Reference method *) | Actual method used *) | ’Unrounded’ result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Iron as Fe | mg/kg | E1615 |  |  |  |

*)	Please see the letter of instructions before start of the tests at www.kpmd.co.uk/sgs-iis/