Report form A for late reported test results of sample #19252

| Determination | unit | Reference method *) | Actual method used *) | ’unrounded’ result *) | rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Density at 20°C | kg/L | ISO12185 |  |  |  |
| Nonvolatile matter | mg/100mL | D1353 |  |  |  |
| Permanganate time test at 20°C | minutes | D1363 |  |  |  |
| pHe | Type electrode used: LiCl electrode or KCl electrode **) |  |  |  |  |
| pHe |  | D6423 |  |  |  |
| Strength | %M/M | Table OIML |  |  |  |
| Strength | %V/V | Table OIML |  |  |  |
| Water | %M/M | E203 |  |  |  |
| UV - CUVETTE USED | 10mm or 50mm or ........... **) |  |  |  |  |
| UV absorbance at 300 nm |  |  |  |  |  |
| UV absorbance at 270 nm |  |  |  |  |  |
| UV absorbance at 260 nm |  |  |  |  |  |
| UV absorbance at 250 nm |  |  |  |  |  |
| UV absorbance at 240 nm |  |  |  |  |  |
| UV absorbance at 230 nm |  |  |  |  |  |
| UV absorbance at 220 nm |  |  |  |  |  |
| - Evaluation of the UV-scan: | PASS or FAIL **) |  |  |  |  |

*) Please see the letter of instructions before the start of the tests at www.kpmd.co.uk/sgs-iis/

**) Please circle the right option

Report form B for late reported test results of sample #19253 – GC only

| Determination | Unit | Reference method *) | Actual method used *) | ’unrounded’ result *) | ’rounded’ result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Purity of Ethanol on dry basis | %M/M |  |  |  |  |
| Methanol | mg/kg |  |  |  |  |
| Acetal (1,1-diethoxyethane) | mg/kg |  |  |  |  |
| Acetaldehyde | mg/kg |  |  |  |  |
| Acetone | mg/kg |  |  |  |  |
| Benzene | mg/kg |  |  |  |  |
| Isopropanol | mg/kg |  |  |  |  |
| Monoethylene glycol (MEG) | mg/kg |  |  |  |  |
| Other impurities | mg/kg |  |  |  |  |
| Total impurities | mg/kg |  |  |  |  |

*) Please see the letter of instructions before the start of the tests at www.kpmd.co.uk/sgs-iis/