# Report form A for late reported test results of sample #19105

| Determination | Unit | Reference method *) | Actual method used *) | unrounded result *) | rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acid Number (total) ***) | mg KOH/g | D664-A |  |  |  |
| API Gravity |  | D1298 |  |  |  |
| Ash Content | %M/M | ISO6245 |  |  |  |
| Asphaltenes | %M/M | IP143 |  |  |  |
| Calc.Carbon Aromaticity Index |  | ISO8217 |  |  |  |
| Carbon Residue – micro method | %M/M | ISO10370 |  |  |  |
| Conradson Carbon Residue | %M/M | D189 |  |  |  |
| Density at 15°C | kg/m3 | ISO12185 |  |  |  |
| Flash Point, PMcc | °C | ISO2719-B |  |  |  |
| Flash Point, PMcc procedure |  |  | Used procedure: A / B / C **) |  |  |
| Heat of Combustion (Gross) | MJ/kg | D240 |  |  |  |
| Heat of Combustion (Net) | MJ/kg | D240 |  |  |  |
| Kinematic viscosity at 50°C | mm2/s | ISO3104 |  |  |  |
| Kinematic viscosity at 100°C | mm2/s | ISO3104 |  |  |  |
| Viscosity Stabinger at 50°C | mm2/s | D7042 |  |  |  |
| Viscosity Stabinger at 100°C | mm2/s | D7042 |  |  |  |
| Nitrogen | mg/kg | D5762 |  |  |  |
| Nitrogen method |  |  | Followed method: Gravimetric / Volumetric **) |  |  |
| Pour Point, Lower | °C | ISO3016 |  |  |  |
| Pour Point, Upper | °C | ISO3016 |  |  |  |
| Pour Point, Automated, 3°C interval | °C | D5950 |  |  |  |
| Sediment by extraction | %M/M | D473 |  |  |  |
| Total sediment (Hot filtration) | %M/M | IP375 |  |  |  |
| Total sediment (Accelerated) | %M/M | IP390 |  |  |  |
| Total sediment (Potential) | %M/M | IP390 |  |  |  |

*) Please see the letter of instructions before start of the tests (www.kpmd.co.uk/sgs-iis/)

**) Please circle the used procedure

***) Please answer the ”Additional Questions” of this determination when applicable

# Report form B for late reported test results of sample #19105

| Determination | Unit | Reference method *) | Actual method used *) | unrounded result *) | rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Sulfur, Total | %M/M | ISO8754 |  |  |  |
| Water by distillation | %V/V | ISO3733 |  |  |  |
| Water and Sediment | %V/V | D1796 |  |  |  |

*) Please see the letter of instructions before start of the tests (www.kpmd.co.uk/sgs-iis/)

| Distillation performed at 10 mmHg but reported as AET **) | Unit | Reference method *) | Actual method used *) | unrounded result *) | rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Initial Boiling Point as AET | °C | D1160 |  |  |  |
| 5% recovered as AET | °C | D1160 |  |  |  |
| 10% recovered as AET | °C | D1160 |  |  |  |
| 20% recovered as AET | °C | D1160 |  |  |  |
| 30% recovered as AET | °C | D1160 |  |  |  |
| 40% recovered as AET | °C | D1160 |  |  |  |
| 50% recovered as AET | °C | D1160 |  |  |  |
| Final Boiling Point as AET | °C | D1160 |  |  |  |

*) Please see the letter of instructions before start of the tests (www.kpmd.co.uk/sgs-iis/)

**) Please perform the distillation as near as possible to 10 mm Hg and report all temperatures at 760 mmHg (Atmospheric Equivalent Temperatures)

| Determination | Unit | Reference method *) | Actual method used *) | unrounded results *) | rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| CHN Analyser |  | Used sub test methode: A / B / C / D **) |  |  |  |
| - Total Carbon | %M/M | D5291 |  |  |  |
| - Total Hydrogen | %M/M | D5291 |  |  |  |
| - Total Nitrogen | %M/M | D5291 |  |  |  |

*) Please see the letter of instructions before start of the tests (www.kpmd.co.uk/sgs-iis/)

**) Please circle the used sub test method

Additional Questions

about Acid Number (ASTM D664):

What was the volume of the titration solvent?

 60 mL

 125 mL

How was the end point determined?

 Inflection Point

 Buffer End Point pH 10

 Buffer End Point pH 11

Remarks on Additional Questions:

__________________________________________________________________________________