Report form A for late reported test results of sample #19095

| Determination | unit | Reference method *) | Actual method used *) | Unrounded Result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acid Number (total) | mg KOH/g | D664-A |  |  |  |
| Base Number | procedure used: A forward, A back, B forward or B back **) |  |  |  |  |
| Base Number (HClO4 titration) | mg KOH/g | D2896 |  |  |  |
| Color ASTM scale |  | D1500 |  |  |  |
| Conradson Carbon Residue | %M/M | D189 |  |  |  |
| Ramsbottom Carbon Residue | %M/M | D524 |  |  |  |
| Carbon Residue (Micro method) | %M/M | D4530 |  |  |  |
| Density at 15°C | kg/L | D4052 |  |  |  |
| Evaporation loss by Noack | procedure used: A, B, C or D **) |  |  |  |  |
| Evaporation loss by Noack | %M/M | D5800 |  |  |  |
| Flash Point, C.O.C. | °C | D92 |  |  |  |
| Flash Point, PMcc | procedure used: A, B or C **) |  |  |  |  |
| Flash Point, PMcc | °C | D93 |  |  |  |
| Foaming Tendency |  |  |  |  |  |
| Sequence I (5 min blowing period) | mL | D892 |  |  |  |
| Sequence II (5 min blowing period) | mL | D892 |  |  |  |
| Sequence III (5 min blowing period) | mL | D892 |  |  |  |
| Foaming Stability |  |  |  |  |  |
| Sequence I (10 min settling point) | mL | D892 |  |  |  |
| Sequence II (10 min settling point) | mL | D892 |  |  |  |
| Sequence III (10 min settling point) | mL | D892 |  |  |  |

- *) 	Please read the letter of instructions before the start of the analysis (www.kpmd.co.uk/sgs-iis-cts/)

**)	Please circle the submethod that was used

Report form B for late reported test results of sample #19095

| Determination | unit | Reference method *) | Actual method used *) | Unrounded Result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Kinematic Viscosity at 40°C | mm2/s | D445 |  |  |  |
| Kinematic Viscosity at 100°C | mm2/s | D445 |  |  |  |
| Viscosity Index |  | D2270 |  |  |  |
| Viscosity Stabinger at 40°C | mm2/s | D7042 |  |  |  |
| Viscosity Stabinger at 100°C | mm2/s | D7042 |  |  |  |
| Viscosity, Apparent (CCS) at -30°C | mPa.s | D5293 |  |  |  |
| Viscosity HTHS | mPa.s | D4683 |  |  |  |
| Nitrogen | mg/kg | D5762 |  |  |  |
| Pour Point, Manual | °C | D97 |  |  |  |
| Pour Point, Automated, 1°C interval | °C | D5950 |  |  |  |
| Sulfated Ash | %M/M | D874 |  |  |  |
| Sulfur | mg/kg | D4294 |  |  |  |
| Water | procedure used: A, B or C **) |  |  |  |  |
| Water content by KF | mg/kg | D6304 |  |  |  |
| Elemental Analysis |  |  |  |  |  |
| Calcium as Ca | mg/kg | D5185 |  |  |  |
| Phosphorus as P | mg/kg | D5185 |  |  |  |
| Zinc as Zn | mg/kg | D5185 |  |  |  |

- *) 	Please read the letter of instructions before the start of the analysis (www.kpmd.co.uk/sgs-iis-cts/)

**)	Please circle the submethod that was used

Additional Questions

About Acid Number (ASTM D664):

What was the volume of the titration solvent?

- 60 mL

- 125 mL

How was the acid end point determined?

- Inflection Point

- Buffer End Point (pH 10)

- Buffer End Point (pH 11)

About foaming characteristics:

How was the sample used?

- As received

- After agitation (option A)

- Other, please specify below.

What type of diffuser was used?

- Metal (Stainless Steel)

- Stone (Non-Metallic)

Remarks on Additional Questions:

- Please, complete these additional questions as much as possible. It can help us to evaluate the results of the proficiency test. Thank you in advance.