Report form A for late reported test results of sample #19096

| Determination | unit | Reference method *) | Actual method used *) | ’Unrounded’ Result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acid Number (total) | mg KOH/g | D664-A |  |  |  |
| Base Number | procedure used: A forward, A back, B forward or B back **) |  |  |  |  |
| Base Number (HClO4 titration) | mg KOH/g | D2896 |  |  |  |
| Base Number (HCl titration) | mg KOH/g | D4739 |  |  |  |
| Density at 15°C | kg/L | D4052 |  |  |  |
| Flash Point, PMcc | Procedure used: A, B or C **) |  |  |  |  |
| Flash Point, PMcc | °C | D93 |  |  |  |
| Fuel Dilution | %M/M | D3524 |  |  |  |
| Kinematic viscosity at 40°C | mm2/s | D445 |  |  |  |
| Kinematic viscosity at 100°C | mm2/s | D445 |  |  |  |
| Viscosity index |  | D2270 |  |  |  |
| Kinematic viscosity Houillon at 40°C | mm2/s | D7279 |  |  |  |
| Kinematic viscosity Houillon at 100°C | mm2/s | D7279 |  |  |  |
| Water | Procedure used: A, B or C **) |  |  |  |  |
| Water content by KF | mg/kg | D6304 |  |  |  |

- *) 	Please read the letter of instructions before the start of the analysis (www.kpmd.co.uk/sgs-iis-cts/)

**)	Please circle the submethod that was used

Additional Questions

About Acid Number (ASTM D664):

What was the volume of the titration solvent?

- 60 mL

- 125 mL

How was the and point determined?

- Inflection Point

- Buffer End Point (pH 10)

- Buffer End Point (pH 11)

Remarks on Additional Questions:

- Please, complete these additional questions as much as possible. It can help us to evaluate the results of the proficiency test. Thank you in advance.