Report form A for late reported test results of sample #19235

| Determination | unit | Reference method *) | Actual method used *) | Unrounded result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acid Number (Total) | mg KOH/g | D664-A |  |  |  |
| Copper Corrosion 3hrs at 50°C | rating |  |  |  |  |
| Density at 15°C | kg/L | ISO12185 |  |  |  |
| Flash Point PMcc | Procedure used : A / B / C **) |  |  |  |  |
| - Flash Point PMcc | °C | D93 |  |  |  |
| Foaming Tendency***) |  |  |  |  |  |
| - Sequence I (5 min. blowing period) | mL | D892 |  |  |  |
| - Sequence II (5 min. blowing period) | mL | D892 |  |  |  |
| - Sequence III (5 min. blowing period) | mL | D892 |  |  |  |
| Foaming Stability***) |  |  |  |  |  |
| - Sequence I (10 min. settling period) | mL | D892 |  |  |  |
| - Sequence II (10 min. settling period) | mL | D892 |  |  |  |
| - Sequence III (10 min. settling period) | mL | D892 |  |  |  |

*) Please read the letter of instructions before the start of the tests at www.kpmd.co.uk/sgs-iis/

**) Please circle the right option

***)Please note that sample #19235 is not freshly blended

Report form B for late reported test results of sample #19235

| Determination | unit | Reference method *) | Actual method used *) | Unrounded result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Kinematic Viscosity at 40°C | mm2/s | D445 |  |  |  |
| Kinematic Viscosity at 100°C | mm2/s | D445 |  |  |  |
| Viscosity Index |  | D2270 |  |  |  |
| Viscosity Stabinger at 40°C | mm2/s | D7042 |  |  |  |
| Viscosity Stabinger at 100°C | mm2/s | D7042 |  |  |  |
| Pour Point, Manual | °C | D97 |  |  |  |
| Pour Point, Automated,1°C interval | °C | D5950 |  |  |  |
| Sulfur | mg/kg | D4294 |  |  |  |
| Water | Procedure used : A / B / C **) |  |  |  |  |
| Water | mg/kg | D6304 |  |  |  |
| Water Separability at 54°C, distilled water |  |  |  |  |  |
| - Time to reach 3 mL or less emulsion | minutes | D1401 |  |  |  |
| - Time to reach 37 mL of water | minutes | D1401 |  |  |  |
| - Time to reach complete break (40-40-0) | minutes |  |  |  |  |
| - Test aborted | NO / YES **) |  |  |  |  |
| - Time test aborted | minutes |  |  |  |  |
| - Volume of oil phase | mL |  |  |  |  |
| - Volume of water phase | mL |  |  |  |  |
| - Volume of emulsion phase | mL |  |  |  |  |
| Elemental Analysis |  |  |  |  |  |
| Calcium as Ca | mg/kg | D5185 |  |  |  |
| Phosphorus as P | mg/kg | D5185 |  |  |  |
| Zinc as Zn | mg/kg | D5185 |  |  |  |

*) Please read the letter of instructions before the start of the tests at www.kpmd.co.uk/sgs-iis/

**) Please circle the right option

Additional Questions

About Acid Number (ASTM D664):

What was the volume of the titration solvent?

- 60 mL

- 125 mL

How was the and point determined?

- Inflection Point

- Buffer End Point (pH 10)

- Buffer End Point (pH 11)

About Foaming Characteristics:

How was the sample used?

- As received

- After agitation (option A)

- Other, please specify:

What type of diffuser was used?

- Metal (Stainless Steel)

- Stone (Non-Metallic)

Was the cylinder cleansed after each use?

- I do not know

- No

- Yes

Was the gas diffuser cleansed after each use?

- I do not know

- No

- Yes

Was the air tube cleansed after each use?

- I do not know

- No

- Yes

About Foaming Tendency:

Was the air flow rate constant (94 mL/min ± 5 mL/min) during the whole 5 min blowing period?

- I do not know

- No: adjustment of flow rate was done only at the beginning of the blowing period

- Yes: re-adjustment of air flow was NOT needed to keep air flow rate constant

- Yes: but re-adjustment of air flow rate needed to keep air flow rate constant

Remarks on Additional Questions:

- Please, complete these additional questions as much as possible. It can help us to evaluate the results of the proficiency test. Thank you in advance.