Report form A for late reported test results of sample #19236

| Determination | Unit | Reference method *) | Actual method used *) | Unrounded result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acid Number (Total) | mg KOH/g | D664-A |  |  |  |
| Density at 15°C | kg/L | ISO12185 |  |  |  |
| Flash Point PMcc | Procedure used : A / B / C **) |  |  |  |  |
| - Flash Point PMcc | °C | D93 |  |  |  |
| Kinematic Viscosity at 40°C | mm2/s | D445 |  |  |  |
| Kinematic Viscosity at 100°C | mm2/s | D445 |  |  |  |
| Viscosity Stabinger at 40°C | mm2/s | D7042 |  |  |  |
| Viscosity Stabinger at 100°C | mm2/s | D7042 |  |  |  |
| Sulfur | mg/kg | D4294 |  |  |  |
| Water | Procedure of used : A / B / C **) |  |  |  |  |
| Water | mg/kg | D6304 |  |  |  |
| Level of Contamination Measurement |  |  |  |  |  |
| particle size ≥ 4 μm (c) | counts/mL | D7647 |  |  |  |
| particle size ≥ 6 μm (c) | counts/mL | D7647 |  |  |  |
| particle size ≥ 14 μm (c) | counts/mL | D7647 |  |  |  |
| Level of Contamination acc. to ISO4406 scale |  |  |  |  |  |
| particle size ≥ 4 μm (c) | scale number | D7647 |  |  |  |
| particle size ≥ 6 μm (c) | scale number | D7647 |  |  |  |
| particle size ≥ 14 μm (c) | scale number | D7647 |  |  |  |

- *) Please see the letter of instructions before the start of the tests at www.kpmd.co.uk/sgs-iis/

**) Please select the right option

Additional Questions

About Acid Number (ASTM D664):

What was the volume of the titration solvent?

- 60 mL

- 125 mL

How was the and point determined?

- Inflection Point

- Buffer End Point (pH 10)

- Buffer End Point (pH 11)

About Particle Size Measurement:

What is the brand of your automatic particle counter (APC)?

- Parker Hannifin

- Stanhope-Seta

- Pamas

- Other, please specify: _______________________________________

Which norm is used to calibrate the automatic particle counter (APC)?

- ISO11171

- Other, please specify: _______________________________________

Remarks on Additional Questions:

- Please, complete these additional questions as much as possible. It can help us to evaluate the results of the proficiency test. Thank you in advance.