Report form A for late reported test results of sample #19241

| Determination | unit | Reference method *) | Actual method used *) | Unrounded result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acidity, Total (Potentiometric) **) | mg KOH/g | D664-A |  |  |  |
| Acidity, Total (Colorimetric) | mg KOH/g | D974 |  |  |  |
| Breakdown Voltage **) | kV/2.5mm | EN60156 |  |  |  |
| Density at 20°C | kg/m3 | ISO3675 |  |  |  |
| Di-electric Dissipation Factor (DDF) measured at frequency: __________ Hz |  |  |  |  |  |
| Di-electric Dissipation Factor (DDF) at 90°C |  | EN60247 |  |  |  |
| Specific Resistance at 90°C | GΩm | EN60247 |  |  |  |
| Flash Point, C.O.C. | °C | D92 |  |  |  |
| Flash Point, PMcc | °C | ISO2719 |  |  |  |
| Interfacial Surface Tension | mN/m | D971 |  |  |  |
| Kinematic Viscosity at 40°C | mm2/s | D445 |  |  |  |
| Water | mg/kg | EN60814 |  |  |  |

- *) Please see the letter of instructions before start of the tests at www.kpmd.co.uk/sgs-iis/

- **) Please answer the additional questions if this determination is performed (see next page)

Report form B for late reported test results

Additional Questions

About Acid Number (ASTM D664):

What was the volume of the titration solvent?

- 60 mL

- 125 mL

How was the end point determined?

- Inflection Point

- Buffer End Point (pH 10)

- Buffer End Point (pH 11)

About Breakdown Voltage determination:

Did you stirr during the determination of the Breakdown Voltage?

- Yes

- No

Remarks on Additional Questions?

_________________________________________________________________

- Please, complete these additional questions as much as possible. It can help us to evaluate the results of the proficiency test. Thank you in advance.