Report form A for late reported test results of sample #19621

Please take care to use the following fixed test conditions in this PT as given below

| Sample #19621 | 1 pink Polypropylene cup containing some Phthalates |
| --- | --- |
| Simulant | 50% M/V Ethanol |
| Exposure time | 1 hour |
| Exposure temperature | 70°C |
| Migration method | Article filling, single use *) |
| Simulant volume | as per method used (please report volume in additional questions) |

Sample #19621

| Determinations |  | CAS No. | Unit | Reference method *) | Actual method used *) | Unroundedresult *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| What was the contact surface area (in dm2) of the test item exposed to simulant? |  |  |  |  |  |  |  |
| What was the volume of simulant (in mL) used into the test item? |  |  |  |  |  |  |  |
| Final concentration in mg/L in simulant |  |  |  |  |  |  |  |
| BBP - Benzylbutylphthalate | 85-68-7 |  | mg/L |  |  |  |  |
| DEHP - Bis-2-ethylhexylphth. | 117-81-7 |  | mg/L |  |  |  |  |
| DBP - Dibutylphthalate | 84-74-2 |  | mg/L |  |  |  |  |
| DIDP - Diisodecylphthalate | 26761-40-0 & 68515-49-1 |  | mg/L |  |  |  |  |
| DINP - Diisononylphthalate | 28553-12-0 & 68515-48-0 |  | mg/L |  |  |  |  |
| DNOP - Di-n-octylphthalate | 117-84-0 |  | mg/L |  |  |  |  |
| DCHP - Dicyclohexylphthalate | 84-61-7 |  | mg/L |  |  |  |  |
| DEP - Diethylphthalate | 84-66-2 |  | mg/L |  |  |  |  |
| DMP - Dimethylphthalate | 131-11-3 |  | mg/L |  |  |  |  |
| DNHP - Di-n-hexylphthalate | 84-75-3 |  | mg/L |  |  |  |  |
| DIBP - Diisobutylphthalate | 84-69-5 |  | mg/L |  |  |  |  |
| DPHP - Di(2-propylheptyl)phth. | 53306-54-0 |  | mg/L |  |  |  |  |
| DNPP - Di-n-pentylphthalate | 131-18-0 |  | mg/L |  |  |  |  |
| DUP - Diundecylphthalate | 3648-20-2 |  | mg/L |  |  |  |  |
| DPRP - Dipropylphthalate | 131-16-8 |  | mg/L |  |  |  |  |
| DAP – Diallylphthalate | 131-17-9 |  | mg/L |  |  |  |  |

| Determinations |  | CAS No. | Unit | Reference method *) |  | Actual method used *) |  | Unroundedresult *) |  | Rounded result cfr. used standard *) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Specific Migration in mg/dm2 per contact surface |  |  |  |  |  |  |  |  |  |  |  |
| BBP - Benzylbutylphthalate | 85-68-7 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DEHP - Bis-2-ethylhexylphth. | 117-81-7 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DBP - Dibutylphthalate | 84-74-2 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DIDP - Diisodecylphthalate | 26761-40-0 & 68515-49-1 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DINP - Diisononylphthalate | 28553-12-0 & 68515-48-0 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DNOP - Di-n-octylphthalate | 117-84-0 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DCHP - Dicyclohexylphthalate | 84-61-7 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DEP - Diethylphthalate | 84-66-2 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DMP - Dimethylphthalate | 131-11-3 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DNHP - Di-n-hexylphthalate | 84-75-3 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DIBP - Diisobutylphthalate | 84-69-5 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DPHP - Di(2-propylheptyl)phth. | 53306-54-0 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DNPP - Di-n-pentylphthalate | 131-18-0 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DUP - Diundecylphthalate | 3648-20-2 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DPRP - Dipropylphthalate | 131-16-8 |  | mg/dm2 |  |  |  |  |  |  |  |  |
| DAP – Diallylphthalate | 131-17-9 |  | mg/dm2 |  |  |  |  |  |  |  |  |

*) Please see letter of instructions on data entry portal before start of the tests (www.kpmd.co.uk/sgs-iis-cts/).

Additional Questions:

1. Is your laboratory accredited in accordance with ISO/IEC17025 for this test?

a. No

- b. Yes

2. Was the sample cleaned prior to the migration step?

a. No

b. Yes, please specify what was used: _____________________________________

3. Was the simulant heated to 70°C before the sample was filled with simulant?

a. No

- b. Yes

4. Which equipment was used for the Migration Step?

a. Oven

b. Incubator

c. Water bath

5. Is the sample article sealed, so simulant evaporation is prevented during the test?

a. No

b. Yes, with Aluminum Seal

c. Yes, tested in an airtight container

d. Yes mention below

Please specify_____________________________________

Remarks on Additional Questions:

______________________________________________________________________________

______________________________________________________________________________