Report form A for late reported test results of sample #20025

| Determination | Unit | Reference method *) | Actual method used *) | ‘Unrounded’ result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Aromatics by HPLC |  |  |  |  |  |
| Mono-aromatics, MAHs | %M/M | D6379 |  |  |  |
| Di-aromatics, DAHs | %M/M | D6379 |  |  |  |
| Total Aromatics | %M/M | D6379 |  |  |  |
| Total Aromatics | %V/V |  |  |  |  |
| Aromatics by FIA | %M/M |  |  |  |  |
| Aromatics by FIA | %V/V | D1319 |  |  |  |
| Color |  | D2392 |  |  |  |
| Copper Corrosion 2hrs at 100°C | rating |  |  |  |  |
| Density at 15°C | kg/m3 | ISO12185 |  |  |  |
| Distillation at 760 mmHg | Manual or Automatic: M / A **) |  |  |  |  |
| - Initial Boiling Point | °C | D86 |  |  |  |
| - Temp at 10% evaporated | °C | D86 |  |  |  |
| - Temp at 40% evaporated | °C | D86 |  |  |  |
| - Temp at 50% evaporated | °C | D86 |  |  |  |
| - Temp at 90% evaporated | °C | D86 |  |  |  |
| - Final Boiling Point | °C | D86 |  |  |  |
| - Distillation Residue | %V/V | D86 |  |  |  |
| Existent Gum (solvent washed) | mg/100mL | D381 |  |  |  |
| Freezing Point | °C | D2386 |  |  |  |
| Heat of Combustion (Net) | MJ/kg | D3338 |  |  |  |
| Lead as Pb 1) | g Pb/L | D3341 |  |  |  |
| Lead as Tetra Ethyl Lead | mL TEL/L | D3341 |  |  |  |
| Lead Precipitate | mg/100mL | D873 |  |  |  |
| Potential Gum | mg/100mL | D873 |  |  |  |

*) Please see the letter of instructions before the start of the tests at www.kpmd.co.uk/sgs-iis/

**) Please, circle the correct option

1) When ASTM D5059 is used: Please, specify method A, B or C.

Report form B for late reported test results of sample #20025

| Determination | Unit | Reference method *) | Actual method used *) | ‘Unrounded’ result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Sulfur | %M/M | D2622 |  |  |  |
| Water reaction, volume change | mL | D1094 |  |  |  |
| MON |  | D2700 |  |  |  |
| Lean mixture Aviation rating **) |  | D2700 |  |  |  |

*) Please see the letter of instructions before the start of the tests at www.kpmd.co.uk/sgs-iis/

**) Please see §5.5 and table 8